## Instructions
PY25 version: |  | 1 | 2025-06-06
This workbook is a Template. Create a new copy for each job.
Each sheet is protected by default. Use the Review tab in the toolbar on top of the screen to unprotect the sheets if needed. When a sheet is protected, users can only click into the unlocked cells which are highlighted light gray. This will prevent accidentally deleting the formulas or other important data.
HOT KEYS Press Ctrl + s in any sheet with sequence numbers in column A to search for the measure you need. Enter the number and click ok or press enter. It will take you to that number. Add your notes, qty etc. Repeat for the next measure. Press Ctrl + t to return to the top of any sheet (You do not need to unprotect the sheet to use the hot keys)
The Hide Rows/ Unhide Rows buttons on each sheet will hide/ unhide unused rows. When you have everything entered for a specific sheet click Hide Rows to only display the rows in the sheet that were used.
Work Order Tab
• Enter the Client and Agency information. The agency assigns the optional due date field, indicating when the crew should complete the job.
• Enter the Qty. for each measure called for on the NEAT/ MHEA Recommended Measures Report. The sheet will calculate the costs. Reminder: ancillary measures and additional costs are included in the measure total and will not be itemized in the recommended measures report from WAweb. However, they must be itemized in the Work Order to verify that they were accounted for (a sheet has been added to help with this - see ancillary calc below).
• A column has been added for entering notes related to the selected measure. For example, you can specify the location where the measure will be installed.
• A sub-total row has been added to the bottom of each measure type to summarize the selected measures within that category. The complete job total is at the very bottom.
• The Work Order total may differ slightly from the NEAT/MHEA cost because NEAT/MHEA rounds its totals. This is normal and should only be a few dollars. If the totals vary more than this, double-check that all of the measures are accounted for.
NOTE: Infiltration measures are populated from the Infiltration Calculation Sheet.
NOTE: Ancillary measures are populated from the Ancillary Calculation Sheet.
NOTE: All insulation quantities are entered as sqft. determined by the NEAT/ MHEA audit.
You will have to convert the sqft to lbs to report in WAMS. Insulation will be reported in sqft. once we begin using LEWIS
• If a measure is not listed, enter it in the Misc. section at the bottom. You will need to enter the exact cost used in NEAT/ MHEA for that measure.
• The measures below are highlighted because they have a cost that is manually calculated and entered by the agency. You also need to add a description for the misc. items.
6300 | Misc. repair-1 (add description)
6301 | Misc. repair-2 (add description)
6302 | Misc. repair-3 (add description)
7250 | Siding (per lnft) All types - Cost plus 25% $75/ hour labor
7260 | Siding material All types - Cost plus 25% $75/ hour labor(Corners, J-channel)
6754 | Grading (Gen H&S Repair)($3k max) $15cuft + $75/ hour
6270 | Misc. Infiltration-1 (add description) |  |  | 6270 & 6280 will auto-fill from the Infiltration Calc Tab.
6280 | Misc. Infiltration-2 (add description)
LSWP
• 9500 is now Exterior LSWP and uses your current per job average (quanity is always 1). • 9501 is Interior LSWP and uses the state average costs until you establish an average cost (quantity is the perimeter- lnft of the work area).
Infiltration Calculation Tab
• This is for the Auditor to enter all of the infiltration measures needed for the home. It will populate the Infiltration measures on the Work Order.
Enter the total cost from the calculation sheet in the NEAT/ MHEA Infiltration tab. You still need to list the measures in the NEAT MHEA comment section.
Access Door Calculation Tab
• Attic, KW & CS access's are no longer entered as "complete". You must specify each material required to build the access. The calculator is an optional tool to help with creating the specification. It does not auto-fill the Work Order, you must manually enter the measures.
Ancillary Calculation Tab
• The Ancillary Calc Tab is a list of all the Ancillary measures. The auditor will determine which measures are needed and enter the quantity to be included in Waweb. The sheet will calculate the cost for each measure and the total cost for all the ancillary measures. Enter these costs in the appropriate fields in WAweb. The Ancillary Measures section on the Work Order will auto-fill based off this sheet.
Change Order
• Page 1 - Some of the cells are pre-populated from the Work Order. All you need to do is enter the information in the light gray cells and the remaining cells will calculate. The percentage of the change order to the work order will calculate next to the totals. The percentage will also trigger the type of approval required for the change order based on PN25-01. This will highlight a message in the cells next to the required signature. If the change order requires state approval, complete the +15% Change Order Checklist.
• Page 2 is for notes explaining the changes and the ECM if applicable - enter the information in the light gray cells.
• The approval date at the top of the sheet is the date the crew received approval to make the changes. It should be prior to the signature dates. The crew signature date is the date the change order form was submitted. The QCI signature date is the date the changes passed inspection. If the change order is a result of the inspection, explain that in the notes.
Ave Costs
• These are the average costs that you provided to the state. They are the same costs used in your PY25 NEAT/ MHEA libraries. You were given the state average cost if a cost was not provided. These measures are marked with an X and highlighted.

## Work Order
PY25 Flat Rate Work Order
Job #: |  |  | Agency Name:
Name: |  |  | Agency Auditor:
Address: |  |  | Phone:
City, Zip: |  |  | Email:
Phone: |  |  | Due Date:
Cellulose Insulation |  | Notes | Cost Cat | Qty. | Material Ea | Material | Labor Ea | Labor | Total
2111 | Attic insulation - R11 (sqft) |  | I |  | 0.16 | 0 | 0.65 | 0 | 0
2211 | Attic insulation - R19 (sqft) |  | I |  | 0.24 | 0 | 0.65 | 0 | 0
2311 | Attic insulation - R30 (sqft) |  | I |  | 0.39 | 0 | 0.65 | 0 | 0
2411 | Attic insulation - R38 (sqft) |  | I |  | 0.5 | 0 | 1.03 | 0 | 0
2453 | Attic insulation - R49 (sqft) |  | I |  | 0.65 | 0 | 1.33 | 0 | 0
2506 | Floored attic insulation - R11 (sqft) |  | I |  | 0.26 | 0 | 1.33 | 0 | 0
2511 | Floored attic insulation - R19 (sqft) |  | I |  | 0.42 | 0 | 2.25 | 0 | 0
2536 | Floored attic insulation - R30 (sqft) |  | I |  | 0.67 | 0 | 2.55 | 0 | 0
2541 | Floored attic insulation - R38 (sqft) |  | I |  | 2.12 | 0 | 3.21 | 0 | 0
2740 | Ceiling slants insulation - R13 (sqft) |  | I |  | 0.85 | 0 | 1.71 | 0 | 0
2745 | Ceiling slants insulation - R19 (sqft) |  | I |  | 0.41 | 0 | 3.26 | 0 | 0
2811 | Sidewall insulation - R13 (sqft) |  | I |  | 0.34 | 0 | 2.7 | 0 | 0
2835 | Sidewall insulation - R19 (sqft) |  | I |  | 1.01 | 0 | 1.95 | 0 | 0
2837 | Sidewall insulation - R30 (sqft) |  | I |  | 1.66 | 0 | 2.55 | 0 | 0
2839 | Sidewall insulation - R38 (sqft) |  | I |  | 2.12 | 0 | 3.21 | 0 | 0
4111 | Kneewall insulation - R13 (sqft) |  | I |  | 0.41 | 0 | 3.25 | 0 | 0
5343 | Floor joist insulation R19 (basement/ crawlspace/tuck under/cantilever)(sqft) |  | I |  | 0.41 | 0 | 2.25 | 0 | 0
5346 | Floor joist insulation R30 (basement/ crawlspace/tuck under/cantilever)(sqft) |  | I |  | 0.67 | 0 | 2.55 | 0 | 0
5349 | Floor joist insulation R38 (basement/ crawlspace/tuck under/cantilever)(sqft) |  | I |  | 2.12 | 0 | 3.21 | 0 | 0
5361 | Floor joist insulation R11(basement/ crawlspace/tuck under/cantilever)(sqft) |  | I |  | 0.34 | 0 | 2.03 | 0 | 0
Sub-total cellulose |  |  |  |  | Material: | 0 | Labor: | 0 | 0
Fiberglass Insulation |  | Notes | Cost Cat | Qty. | Material Ea | Material | Labor Ea | Labor | Total
2151 | Attic insulation R11 - FG Batt (sqft) |  | I |  | 0.44 | 0 | 1.98 | 0 | 0
2251 | Attic insulation R19 - FG Batt (sqft) |  | I |  | 0.44 | 0 | 1.98 | 0 | 0
2753 | Ceiling slants insulation R19 - FG Batt (sqft) |  | I |  | 0.44 | 0 | 1.98 | 0 | 0
2911 | Sidewall insulation R11 - FG Batt (sqft) |  | I |  | 0.44 | 0 | 1.98 | 0 | 0
4011 | KW insulation (3 1/2"x16") R13 - FG Batt (sqft) |  | I |  | 0.46 | 0 | 3.25 | 0 | 0
5111 | KW insulation (3 1/2"x23") R13 - FG Batt (sqft) |  | I |  | 0.48 | 0 | 3.25 | 0 | 0
5211 | Sill insulation (6"x16") R19 - FG Batt (sqft) |  | I |  | 0.84 | 0 | 4.24 | 0 | 0
5331 | CS insulation (6"x23") R19 - FG Batt (sqft) |  | I |  | 0.46 | 0 | 1.67 | 0 | 0
5352 | Floor joist insulation R19 FG Batt (basement/crawlspace/tuck under/ cantilever) (sqft) |  | I |  | 0.34 | 0 | 3.63 | 0 | 0
5355 | Floor joist insulation R30 FG Batt (basement/crawlspace/tuck under/ cantilever) (sqft) |  | I |  | 1.53 | 0 | 1.79 | 0 | 0
5358 | Floor joist insulation R38 FG Batt (basement/crawlspace/tuck under/ cantilever) (sqft) |  | I |  | 2.01 | 0 | 1.16 | 0 | 0
Sub-total fiberglass |  |  |  |  | Material: | 0 | Labor: | 0 | 0
2-Part Foam, Rigid Foam Board & Duct Insulation |  | Notes | Cost Cat | Qty. | Material Ea | Material | Labor Ea | Labor | Total
4050 | Kneewall insulation - R13 - two-part foam (per sqft) |  | I |  | 4.1 | 0 | 2 | 0 | 0
4051 | Kneewall insulation - R19 - two-part foam (per sqft) |  | I |  | 4.1 | 0 | 2 | 0 | 0
5240 | Sill Insulation - R19 - foil faced rigid foam board (per sqft) |  | I |  | 4.56 | 0 | 2.46 | 0 | 0
5250 | Sill insulation - R19 - two part foam (per sqft) |  | I |  | 33.31 | 0 | 7.14 | 0 | 0
5306 | Crawlspace insulation - R19 - two part foam (per sqft) |  | I |  | 33.31 | 0 | 7.14 | 0 | 0
5340 | Crawlspace insulation - R19 - foil faced rigid foam board (per sqft) |  | I |  | 2.05 | 0 | 3.87 | 0 | 0
5401 | Duct Insulation (per lnft) - Heating/Cooling ducts |  | I |  | 1.44 | 0 | 3.87 | 0 | 0
Sub-total 2pf, rfb & duct insulation |  |  |  |  | Material: | 0 | Labor: | 0 | 0
Mobile Home Specific |  | Notes | Cost Cat | Qty. | Material Ea | Material | Labor Ea | Labor | Total
10010 | Attic insulation- mobile home (per bag) R11 |  | I |  | 61.71 | 0 | 10 | 0 | 0
10110 | Attic insulation- mobile home (per bag) R19 |  | I |  | 61.71 | 0 | 12.75 | 0 | 0
10210 | Attic insulation- mobile home (per bag) R30 |  | I |  | 61.71 | 0 | 15 | 0 | 0
10310 | Attic insulation- mobile home (per bag) R38 |  | I |  | 61.71 | 0 | 17.25 | 0 | 0
10410 | Sidewall insulation - mobile home (sqft) R11 |  | I |  | 2.03 | 0 | 1.95 | 0 | 0
10510 | Underbelly insulation - mobile home (per bag) |  | I |  | 45.08 | 0 | 48.06 | 0 | 0
10711 | Celotex 1 in. (underbelly) (sqft) - Repair |  | R |  | 0.85 | 0 | 2.22 | 0 | 0
10712 | Celotex 1 in. (underbelly) (sqft) - Infiltration |  | A |  | 0.85 | 0 | 2.22 | 0 | 0
10721 | Seal underbelly (sqft) - Repair |  | R |  | 0.76 | 0 | 3 | 0 | 0
10722 | Seal underbelly (sqft) - Infiltration |  | A |  | 0.76 | 0 | 3 | 0 | 0
10730 | Silver seal (per gal) |  | R |  | 29.33 | 0 | 37.5 | 0 | 0
10739 | Mobile home water heater closet door - exterior only |  | H |  | 255 | 0 | 144.18 | 0 | 0
10740 | Mobile home rated door - Complete - ECM |  | E |  | 624.66 | 0 | 335.55 | 0 | 0
10742 | Mobile home rated door - Complete - H&S |  | H |  | 627.96 | 0 | 335.55 | 0 | 0
10744 | Mobile home rated door - Complete - Utility (max. of $800/ea) |  | U |  | 400 | 0 | 400 | 0 | 0
10750 | Mobile home window - Complete - ECM - non-utility funds (sqft) |  | E |  | 15.92 | 0 | 23.6 | 0 | 0
10752 | Mobile home window - Complete - H&S - non-utility funds (sqft) |  | H |  | 15.92 | 0 | 23.6 | 0 | 0
Sub-total mobile home |  |  |  |  | Material: | 0 | Labor: | 0 | 0
Repair |  | Notes | ECM | Qty. | Material Ea | Material | Labor Ea | Labor | Total
3030 | Attic, KW, CS access (cut new hole) |  | choose |  | 3.33 | 0 | 96.12 | 0 | 0
3100 | Roof vents (w/black jack) |  | choose |  | 19.38 | 0 | 48.06 | 0 | 0
3110 | Gable vent (All Sizes) |  | choose |  | 36 | 0 | 96.12 | 0 | 0
3120 | Gable vents (including lumber, brickmould) |  | choose |  | 36 | 0 | 144.18 | 0 | 0
3130 | Gable vent (w/ outside attic access) |  | choose |  | 54.9 | 0 | 114.75 | 0 | 0
3140 | Soffit vents 4 in.x12 in. |  | choose |  | 5 | 0 | 24.03 | 0 | 0
3150 | Black jack - per gallon |  | choose |  | 14.98 | 0 | 96.12 | 0 | 0
3155 | Black jack - per tube |  | choose |  | 2.75 | 0 | 24.03 | 0 | 0
3192 | Kneewall backing (sqft) - Repair |  | choose |  | 0.09 | 0 | 3.28 | 0 | 0
3194 | House wrap for floor joist (sqft) - Repair |  | choose |  | 0.09 | 0 | 3.28 | 0 | 0
5370 | Lath (per piece) Repair |  | choose |  | 0.32 | 0 | 2.22 | 0 | 0
6170 | Patching plaster (per lb.) Repair |  | choose |  | 11.48 | 0 | 60 | 0 | 0
6180 | Mud\taping (per gal.) Repair |  | choose |  | 7.83 | 0 | 96.12 | 0 | 0
6190 | Ceiling tile (sqft) |  | choose |  | 9.72 | 0 | 12.02 | 0 | 0
6200 | Sheetrock 1/2 in. (sqft) |  | choose |  | 0.41 | 0 | 6.6 | 0 | 0
6210 | Sheetrock 5/8 in. (sqft) |  | choose |  | 0.49 | 0 | 6.6 | 0 | 0
6250 | Mortar mix (per 60 lb. bag) |  | choose |  | 8.73 | 0 | 96.12 | 0 | 0
6260 | Blocks - cement (8 x 8 x 16 in.) |  | choose |  | 3.12 | 0 | 12 | 0 | 0
6430 | Window sill (per lnft) |  | choose |  | 7.59 | 0 | 80 | 0 | 0
6450 | Sash channels |  | choose |  | 15 | 0 | 75 | 0 | 0
6540 | Lower Grade Access - Complete |  | choose |  | 157 | 0 | 384.48 | 0 | 0
6541 | Upper Grade Access - Complete |  | choose |  | 157 | 0 | 384.48 | 0 | 0
6550 | Car siding (per lnft) |  | choose |  | 2.1 | 0 | 4.8 | 0 | 0
6560 | Door sill (each) |  | choose |  | 23 | 0 | 96.12 | 0 | 0
6570 | Exterior door jam w/sill (each) |  | choose |  | 25 | 0 | 96.12 | 0 | 0
6600 | Butt hinges 4 in. |  | choose |  | 9.6 | 0 | 10.11 | 0 | 0
6610 | T-hinges 4 in. |  | choose |  | 8.5 | 0 | 12.14 | 0 | 0
6620 | T-hinges 2 in. |  | choose |  | 6.22 | 0 | 12.14 | 0 | 0
6630 | Striker plate |  | choose |  | 3.49 | 0 | 24.03 | 0 | 0
6640 | Barrell bolt |  | choose |  | 3.79 | 0 | 24.03 | 0 | 0
6650 | L-bracket |  | choose |  | 4.01 | 0 | 12.92 | 0 | 0
6660 | Turn buckle |  | choose |  | 5.65 | 0 | 18.75 | 0 | 0
6670 | Turn button |  | choose |  | 4.5 | 0 | 18.75 | 0 | 0
6680 | Snap fastener |  | choose |  | 1.53 | 0 | 12.02 | 0 | 0
6690 | Hook and eye |  | choose |  | 3.96 | 0 | 9.5 | 0 | 0
6700 | Door pull |  | choose |  | 6.27 | 0 | 12.32 | 0 | 0
6710 | Lockset - keyed |  | choose |  | 10.97 | 0 | 48.06 | 0 | 0
6720 | Lockset - passage |  | choose |  | 8.34 | 0 | 26.83 | 0 | 0
6725 | Deadbolt |  | choose |  | 11.22 | 0 | 48.06 | 0 | 0
6730 | Modernization kit |  | choose |  | 26 | 0 | 48.06 | 0 | 0
6741 | Paint (interior) (per quart) |  | choose |  | 4.8 | 0 | 60.36 | 0 | 0
6742 | Paint (exterior) (per quart) |  | choose |  | 30 | 0 | 37.5 | 0 | 0
6790 | Elastomeric Roof Coat (per 5 gallons) |  | choose |  | 20.9 | 0 | 96.12 | 0 | 0
7010 | Lumber 1x2 (per lnft) |  | choose |  | 0.16 | 0 | 3.01 | 0 | 0
7011 | Lumber 1x2 (per lnft) (Pressure-treated) |  | choose |  | 0.44 | 0 | 5 | 0 | 0
7020 | Lumber 1x4 (per lnft) |  | choose |  | 2.07 | 0 | 3.01 | 0 | 0
7021 | Lumber 1x4 (per lnft) (Pressure-treated) |  | choose |  | 1 | 0 | 5 | 0 | 0
7030 | Lumber 1x6 (per lnft) |  | choose |  | 3.2 | 0 | 3.01 | 0 | 0
7031 | Lumber 1x6 (per lnft) (Pressure-treated) |  | choose |  | 1.14 | 0 | 5 | 0 | 0
7040 | Lumber 1x8 (per lnft) |  | choose |  | 4.12 | 0 | 3.01 | 0 | 0
7041 | Lumber 1x8 (per lnft) (Pressure-treated) |  | choose |  | 1.74 | 0 | 5 | 0 | 0
7050 | Lumber 1x10 (per lnft) |  | choose |  | 2.27 | 0 | 5 | 0 | 0
7051 | Lumber 1x10 (per lnft) (Pressure-treated) |  | choose |  | 3.37 | 0 | 5 | 0 | 0
7060 | Lumber 1x12 (per lnft) |  | choose |  | 2.51 | 0 | 6.01 | 0 | 0
7061 | Lumber 1x12 (per lnft) (Pressure-treated) |  | choose |  | 2.97 | 0 | 5 | 0 | 0
7070 | Lumber 2x2 (per lnft) |  | choose |  | 0.34 | 0 | 3.01 | 0 | 0
7071 | Lumber 2x2 (per lnft) (Pressure-treated) |  | choose |  | 0.85 | 0 | 5 | 0 | 0
7080 | Lumber 2x4 (per lnft) |  | choose |  | 0.46 | 0 | 3.01 | 0 | 0
7081 | Lumber 2x4 (per lnft) (Pressure-treated) |  | choose |  | 1.04 | 0 | 5 | 0 | 0
7090 | Lumber 2x6 (per lnft) |  | choose |  | 1.59 | 0 | 3.01 | 0 | 0
7091 | Lumber 2x6 (per lnft) (Pressure-treated) |  | choose |  | 1.63 | 0 | 5 | 0 | 0
7100 | Lumber 2x8 (per lnft) |  | choose |  | 1.39 | 0 | 3.01 | 0 | 0
7101 | Lumber 2x8 (per lnft) (Pressure-treated) |  | choose |  | 2.35 | 0 | 5 | 0 | 0
7110 | Lumber 2x10 (per lnft) |  | choose |  | 2.94 | 0 | 5 | 0 | 0
7111 | Lumber 2x10 (per lnft) (Pressure-treated) |  | choose |  | 2.62 | 0 | 5 | 0 | 0
7120 | Lumber 2x12 (per lnft) |  | choose |  | 2.82 | 0 | 6.01 | 0 | 0
7121 | Lumber 2x12 (per lnft) (Pressure-treated) |  | choose |  | 3.92 | 0 | 5 | 0 | 0
7130 | Parting stop (per lnft) 1/2 in. x 2 in. |  | choose |  | 3.34 | 0 | 1.08 | 0 | 0
7140 | Door/window stop (per lnft) |  | choose |  | 1 | 0 | 4.47 | 0 | 0
7150 | Door/window casing (per lnft) |  | choose |  | 1.56 | 0 | 6 | 0 | 0
7160 | Window trim (5/4 board) (per lnft) |  | choose |  | 2.39 | 0 | 2.72 | 0 | 0
7170 | Brickmould (per lnft) (wood) |  | choose |  | 1.79 | 0 | 6 | 0 | 0
7180 | Plywood 1/2 in - treated cdx (sqft) |  | choose |  | 1.45 | 0 | 12.02 | 0 | 0
7181 | Plywood 1/2 in - OSB (sqft) |  | choose |  | 0.85 | 0 | 3.74 | 0 | 0
7190 | Plywood 3/4 in - treated cdx (sqft) |  | choose |  | 1.71 | 0 | 12.02 | 0 | 0
7191 | Plywood 3/4 in - OSB (sqft) |  | choose |  | 1.28 | 0 | 3.74 | 0 | 0
7200 | Plywood 3/4 in - ac (sqft) |  | choose |  | 1.89 | 0 | 12.02 | 0 | 0
7210 | Blue or Pink foamboard 2 in. (sqft) R10 - Repair |  | choose |  | 2 | 0 | 3.36 | 0 | 0
7240 | Shims (10 per unit) |  | choose |  | 3.91 | 0 | 10.31 | 0 | 0
7270 | Roll roofing (per 100 sqft roll) |  | choose |  | 122.68 | 0 | 388.53 | 0 | 0
7280 | Shingles (per 100 sqft) 25 year any color |  | choose |  | 120 | 0 | 96.12 | 0 | 0
7290 | Roof Coating (per gal) |  | choose |  | 10.45 | 0 | 96.12 | 0 | 0
7300 | Aluminum Roof Coating (per gal) |  | choose |  | 32.49 | 0 | 37.5 | 0 | 0
7310 | Metal flashing (per lnft) for roofing only |  | choose |  | 1.45 | 0 | 10.72 | 0 | 0
6300 | Misc. repair-1 (add description) |  | choose |  | 0 | 0 | 0 | 0 | 0
6301 | Misc. repair-2 (add description) |  | choose |  | 0 | 0 | 0 | 0 | 0
6302 | Misc. repair-3 (add description) |  | choose |  | 0 | 0 | 0 | 0 | 0
7250 | Siding (per lnft) All types - Cost + 25% + $75/hr labor |  | choose |  | 0 | 0 | 0 | 0 | 0
7260 | Siding material All types - Cost + 25% + $75/hr labor(Corners, J-channel) |  | choose |  | 0 | 0 | 0 | 0 | 0
Sub-total repair |  |  |  |  | Material: | 0 | Labor: | 0 | 0
Health & Safety |  | Notes | Cost Cat | Qty. | Material Ea | Material | Labor Ea | Labor | Total
3180 | Metal damming - heat source (per 10' unit) |  | H |  | 15.22 | 0 | 48.06 | 0 | 0
5365 | Vapor barrier (plastic) (sqft) |  | H |  | 0.1 | 0 | 0.77 | 0 | 0
5366 | Seam Tape Per roll 1 7/8" 164ft |  | H |  | 16.5 | 0 | 150 | 0 | 0
5367 | Vapor barrier Mastic (per gallon) |  | H |  | 200 | 0 | 40 | 0 | 0
5400 | Duct Insulation (per lnft) - R8 (for existing ventilation ducts) |  | H |  | 3.89 | 0 | 2.97 | 0 | 0
5402 | Duct Insulation (per lnft) - For Health & Safety |  | H |  | 2.12 | 0 | 8.39 | 0 | 0
6317 | Vinyl sash replacement H&S |  | H |  | 15.92 | 0 | 23.6 | 0 | 0
6412 | Wood sash replacement H&S |  | H |  | 15.92 | 0 | 23.6 | 0 | 0
6422 | Window Complete - per sqft H&S (max $800/ea) (max $600/ea Utility) |  | H |  | 23.78 | 0 | 15.42 | 0 | 0
6505 | Trim interior door - pressure balancing |  | H |  | 0 | 0 | 48.06 | 0 | 0
6512 | Door - solid core slab (All Sizes) Health and Safety |  | H |  | 243.49 | 0 | 349.11 | 0 | 0
6517 | Door - solid core prehung - Complete - H&S |  | H |  | 307.69 | 0 | 687.21 | 0 | 0
6522 | Door - hollow core prehung - (All Sizes) H&S |  | H |  | 222.01 | 0 | 450 | 0 | 0
6532 | Door - steel pre hung W/O Light(All Sizes) Complete - H&S |  | H |  | 370.62 | 0 | 384.48 | 0 | 0
6533 | Door - steel prehung W/Light (All Sizes) Complete - H&S |  | H |  | 466.34 | 0 | 687.21 | 0 | 0
6752 | Dehumidifier - Gen H&S Repair (50 pint - Energy Star) ($3k max.) |  | H |  | 179.55 | 0 | 94.98 | 0 | 0
6753 | Guttering - Gen H&S Repair - $4 ft/elbow mat + $20 ft/elbow lab |  | H |  | 48.77 | 0 | 198.63 | 0 | 0
7350 | Unfaced fiberglass for K&T damming per ft. |  | H |  | 81.62 | 0 | 530.21 | 0 | 0
8450 | 4 in. elbow (each) |  | H |  | 3.95 | 0 | 12.02 | 0 | 0
8460 | 5" elbow (each) |  | H |  | 8.1 | 0 | 13.2 | 0 | 0
8461 | 6 in. elbow (each) |  | H |  | 12.3 | 0 | 13.2 | 0 | 0
8462 | Reducer (each) |  | H |  | 15.44 | 0 | 13.2 | 0 | 0
8608 | Clamp (each) |  | H |  | 2.79 | 0 | 13.2 | 0 | 0
8609 | Foil tape (per job) |  | H |  | 6 | 0 | 28.13 | 0 | 0
8610 | Dryer vent (exterior kit) |  | H |  | 5.25 | 0 | 48.06 | 0 | 0
8620 | Bathroom vent (exterior kit) 4 in. |  | H |  | 12.21 | 0 | 48.06 | 0 | 0
8621 | Bathroom vent (exterior kit) 6 in. |  | H |  | 68.57 | 0 | 75 | 0 | 0
8630 | Kitchen vent (exterior kit) |  | H |  | 66.49 | 0 | 96.12 | 0 | 0
8640 | Dryer vent (duct per ft) 4 in. rigid metal |  | H |  | 2.89 | 0 | 12.02 | 0 | 0
8641 | Dryer vent (duct per ft) 5 in. rigid metal |  | H |  | 6.35 | 0 | 8 | 0 | 0
8650 | Bathroom vent (duct per ft) 4 in. rigid metal |  | H |  | 2.68 | 0 | 12.02 | 0 | 0
8651 | Bathroom vent (duct per ft) 6 in. flex - R8 |  | H |  | 4.19 | 0 | 8 | 0 | 0
8652 | Bathroom vent (duct per ft) 5 in. |  | H |  | 6.35 | 0 | 8 | 0 | 0
8660 | Kitchen vent (duct per ft) 28 gauge x 8 in. |  | H |  | 2.49 | 0 | 12.02 | 0 | 0
8670 | Duct sealing (per ft) - conditioned area |  | H |  | 0.55 | 0 | 6.01 | 0 | 0
8671 | Duct sealing (per ft) - unconditioned area |  | H |  | 0.55 | 0 | 12.02 | 0 | 0
8680 | Carbon monoxide alarm (sealed w/ 10yr battery) |  | H |  | 31.77 | 0 | 24.03 | 0 | 0
8690 | Smoke alarm (dual sensor) |  | H |  | 24.97 | 0 | 24.03 | 0 | 0
8691 | LP alarm |  | H |  | 49.74 | 0 | 24.03 | 0 | 0
8722 | Transfer grille (ALL Sizes) (min. - 100 sqin free air - i.e. 10 x 10 in.) |  | H |  | 13.81 | 0 | 54.86 | 0 | 0
8740 | Exhaust fan (ea) - moistures issues (excludes venting) |  | H |  | 249.3 | 0 | 537.67 | 0 | 0
8741 | Exhaust fan (ea) - for ASHRAE (excludes venting) |  | H |  | 249.3 | 0 | 537.67 | 0 | 0
8742 | Exhaust fan w/light (ea) - for moisture issues (excludes venting) |  | H |  | 400 | 0 | 400 | 0 | 0
8743 | Exhaust fan w/light (ea) - for ASHRAE (excludes venting) |  | H |  | 400 | 0 | 400 | 0 | 0
8744 | Kitchen exhaust (ea) - for moisture issues (excludes venting) |  | H |  | 400 | 0 | 400 | 0 | 0
8745 | Kitchen exhaust (ea) - for ASHRAE (excludes venting) |  | H |  | 400 | 0 | 400 | 0 | 0
8760 | Energy recovery ventilator (ERV) |  | H |  | 550 | 0 | 400 | 0 | 0
8770 | Exhaust fan - electrician per fan ($350 base price, use a change order to match actual cost) |  | H |  | 40 | 0 | 310 | 0 | 0
9500 | Lead Safe Work Practices - Exterior (qty = perimeter) |  | H |  | 53.64 | 0 | 800 | 0 | 0
9501 | Lead Safe Work Practices - Interior (qty=perimeter) |  | H |  | 3 | 0 | 9 | 0 | 0
6754 | Grading (Gen H&S Repair)($3k max) $15cuft + $75/ hour |  | H |  | 0 | 0 | 0 | 0 | 0
Sub-total H&S |  |  |  |  | Material: | 0 | Labor: | 0 | 0
Infiltration |  | Notes | Cost Cat | Qty. | Material Ea | Material | Labor Ea | Labor | Total
2953 | Pressure Points - R13 - Cellulose (sqft) for infiltration | 0 | A | 0 | 0.85 | 0 | 1.71 | 0 | 0
2955 | Pressure Points - R19 - Cellulose (sqft) for infiltration | 0 | A | 0 | 1.01 | 0 | 1.95 | 0 | 0
2957 | Pressure Points - R30 - Cellulose (sqft) for infiltration | 0 | A | 0 | 1.66 | 0 | 2.55 | 0 | 0
2959 | Pressure Points - R38 - Cellulose (sqft) for infiltration | 0 | A | 0 | 2.12 | 0 | 3.21 | 0 | 0
3050 | Attic, KW, CS access w/s | 0 | A | 0 | 16.54 | 0 | 48.06 | 0 | 0
3170 | By pass blocks in attic (per block 64 sq in) | 0 | A | 0 | 0.53 | 0 | 6.01 | 0 | 0
3171 | Recessed light covers - 12x12x24 5/8 in. drywall | 0 | A | 0 | 25.57 | 0 | 48.06 | 0 | 0
3172 | Air - Tight Recessed LED Light insert | 0 | A | 0 | 12.02 | 0 | 37.5 | 0 | 0
6010 | Weatherstrip without carrier (36 in. door kit) | 0 | A | 0 | 15.57 | 0 | 48.06 | 0 | 0
6020 | Weatherstrip with a carrier (36 in. door kit) | 0 | A | 0 | 16.54 | 0 | 48.06 | 0 | 0
6030 | Foam w/s (30' roll) | 0 | A | 0 | 10 | 0 | 24.03 | 0 | 0
6040 | Sweep | 0 | A | 0 | 16.68 | 0 | 32.5 | 0 | 0
6050 | Sweep - triple | 0 | A | 0 | 5 | 0 | 24.03 | 0 | 0
6060 | Sweep - brush | 0 | A | 0 | 7.46 | 0 | 24.03 | 0 | 0
6070 | Threshold - low | 0 | A | 0 | 21.66 | 0 | 48.06 | 0 | 0
6080 | Threshold - high with insert | 0 | A | 0 | 7.65 | 0 | 96.12 | 0 | 0
6090 | Threshold - bumper | 0 | A | 0 | 30 | 0 | 24.03 | 0 | 0
6095 | Shu | 0 | A | 0 | 17.07 | 0 | 38 | 0 | 0
6100 | A/C foam w/s | 0 | A | 0 | 8.79 | 0 | 24.03 | 0 | 0
6110 | Sash locks | 0 | A | 0 | 3.47 | 0 | 24.03 | 0 | 0
6120 | Caulk - latex | 0 | A | 0 | 2.74 | 0 | 24.03 | 0 | 0
6130 | Caulk - silicone | 0 | A | 0 | 10.21 | 0 | 24.03 | 0 | 0
6140 | Caulk - hi-temp | 0 | A | 0 | 13.48 | 0 | 24.03 | 0 | 0
6141 | Fire rated liquid foam (12 ounce can) | 0 | A | 0 | 9.89 | 0 | 24.03 | 0 | 0
6150 | Non-expanding foam (6 ounce can) | 0 | A | 0 | 5 | 0 | 7.5 | 0 | 0
6155 | Non-expanding foam (12 ounce can) | 0 | A | 0 | 5.98 | 0 | 12.02 | 0 | 0
6160 | Non-expanding foam (20-24 ounce can) (for use with spray gun) | 0 | A | 0 | 16.97 | 0 | 36.05 | 0 | 0
6161 | Froth Pack 200 board feet | 0 | A | 0 | 542 | 0 | 150 | 0 | 0
6162 | Froth Pack 600 board feet | 0 | A | 0 | 1308 | 0 | 225 | 0 | 0
6165 | Non-expanding foam Tank 20# Tank | 0 | A | 0 | 450 | 0 | 250 | 0 | 0
6166 | Expanding foam (i.e. Great Stuff Gaps and Cracks) (12 ounce) | 0 | A | 0 | 9.89 | 0 | 77.25 | 0 | 0
6167 | 2-part foam for air seal | 0 | A | 0 | 1.73 | 0 | 2.38 | 0 | 0
6171 | Patching plaster (per lb.) Infiltration | 0 | A | 0 | 11.48 | 0 | 60 | 0 | 0
6181 | Mud\taping (per gal.) -Infiltration | 0 | A | 0 | 7.83 | 0 | 96.12 | 0 | 0
6201 | Sheetrock 1/2" (sqft)-Infiltration | 0 | A | 0 | 0.41 | 0 | 6.6 | 0 | 0
6211 | Sheetrock 5/8 (sqft)-Infiltration | 0 | A | 0 | 0.49 | 0 | 6.6 | 0 | 0
6220 | Foil faced rigid board 1/2 in. (sqft) | 0 | A | 0 | 0.89 | 0 | 8.16 | 0 | 0
6230 | Foil faced rigid board 3/4 in. (sqft) | 0 | A | 0 | 0.5 | 0 | 8.35 | 0 | 0
6240 | Foil faced rigid board 1 in. (sqft) | 0 | A | 0 | 0.63 | 0 | 8.35 | 0 | 0
6285 | Sheet Metal for air sealing (20"x20"x28 gauge) | 0 | A | 0 | 15 | 0 | 37.88 | 0 | 0
6440 | Window Glaze (per pint) (includes push points) | 0 | A | 0 | 5.74 | 0 | 90.69 | 0 | 0
6460 | Plexi glass (per sq inch) | 0 | A | 0 | 0.15 | 0 | 0.12 | 0 | 0
6501 | Replacement Glass (per sq inch) | 0 | A | 0 | 0.1 | 0 | 0.12 | 0 | 0
6270 | Misc. Infiltration-(add description) | 0 | A | 0 | 0 | 0 | 0 | 0 | 0
6280 | Misc. Infiltration-(add description) | 0 | A | 0 | 0 | 0 | 0 | 0 | 0
Sub-total infiltration |  |  |  |  | Material: | 0 | Labor: | 0 | 0
Ancillary (Extra Labor is paid at $75 per hour) (qty. is per quarter hour) |  | Notes | Cost Cat | Qty. | Material Ea | Material | Labor Ea | Labor | Total
1500 | Extra Labor-Attic Insulation | 0 | I | 0 | ••• Labor Only ••• |  | 12.02 | 0 | 0
1501 | Extra Labor-Attic Insulation Mobile Home | 0 | I | 0 | ••• Labor Only ••• |  | 12.02 | 0 | 0
1502 | Extra Labor-Floored attic Insulation | 0 | I | 0 | ••• Labor Only ••• |  | 12.02 | 0 | 0
1503 | Extra Labor-Ceiling Slants Insulation | 0 | I | 0 | ••• Labor Only ••• |  | 12.02 | 0 | 0
1504 | Extra Labor-Sidewall Insulation | 0 | I | 0 | ••• Labor Only ••• |  | 12.02 | 0 | 0
1505 | Extra Labor-Sidewall Insulation-Mobile Home | 0 | I | 0 | ••• Labor Only ••• |  | 12.02 | 0 | 0
1506 | Extra Labor-Cantilever Floor Insulation | 0 | I | 0 | ••• Labor Only ••• |  | 12.02 | 0 | 0
1507 | Extra Labor-Kneewall Insulation | 0 | I | 0 | ••• Labor Only ••• |  | 12.02 | 0 | 0
1508 | Extra Labor-Sill Insulation | 0 | I | 0 | ••• Labor Only ••• |  | 12.02 | 0 | 0
1509 | Extra Labor-Crawlspace Insulation | 0 | I | 0 | ••• Labor Only ••• |  | 12.02 | 0 | 0
1510 | Extra Labor-Underbelly Insulation | 0 | I | 0 | ••• Labor Only ••• |  | 12.02 | 0 | 0
1511 | Extra Labor-Floor Joist Insulation | 0 | I | 0 | ••• Labor Only ••• |  | 12.02 | 0 | 0
1512 | Extra Labor-Duct Insulation | 0 | I | 0 | ••• Labor Only ••• |  | 12.02 | 0 | 0
1520 | Extra Labor-Infiltration 1 | 0 | A | 0 | ••• Labor Only ••• |  | 12.02 | 0 | 0
1521 | Extra Labor-Infiltration 2 | 0 | A | 0 | ••• Labor Only ••• |  | 12.02 | 0 | 0
1522 | Extra Labor-Infiltration 3 | 0 | A | 0 | ••• Labor Only ••• |  | 12.02 | 0 | 0
1523 | Extra Labor-Infiltration 4 | 0 | A | 0 | ••• Labor Only ••• |  | 12.02 | 0 | 0
1524 | Extra Labor-Infiltration 5 | 0 | A | 0 | ••• Labor Only ••• |  | 12.02 | 0 | 0
1526 | Extra Labor-Repairs 1 | 0 | R | 0 | ••• Labor Only ••• |  | 12.02 | 0 | 0
1527 | Extra Labor-Repairs 2 | 0 | R | 0 | ••• Labor Only ••• |  | 12.02 | 0 | 0
1528 | Extra Labor-Repairs 3 | 0 | R | 0 | ••• Labor Only ••• |  | 12.02 | 0 | 0
1529 | Extra Labor-Repairs 4 | 0 | R | 0 | ••• Labor Only ••• |  | 12.02 | 0 | 0
1530 | Extra Labor-Repairs 5 | 0 | R | 0 | ••• Labor Only ••• |  | 12.02 | 0 | 0
2481 | Insulation depth markers | 0 | I | 0 | 0.02 | 0 | 6.01 | 0 | 0
2482 | Electrical box markers | 0 | I | 0 | 0.01 | 0 | 6.01 | 0 | 0
3010 | Wall plugs (each) - Plastic | 0 | I | 0 | 0.14 | 0 | 3.01 | 0 | 0
3011 | Wall plugs (each) - Wood | 0 | I | 0 | 0.61 | 0 | 1.23 | 0 | 0
3080 | Attic, KW, CS access insulation - 1" Foil faced rigid foamboard (R6) | 0 | I | 0 | 2.01 | 0 | 12.02 | 0 | 0
3160 | Soffit vent chutes | 0 | I | 0 | 1.62 | 0 | 24.03 | 0 | 0
3191 | Kneewall backing (sqft) House wrap or Insulation fabric | 0 | I | 0 | 0.09 | 0 | 3.28 | 0 | 0
3193 | House wrap (sqft) | 0 | I | 0 | 0.09 | 0 | 3.28 | 0 | 0
5369 | Lath (per piece) | 0 | I | 0 | 0.32 | 0 | 2.22 | 0 | 0
Sub-total Ancillary |  |  |  |  | Material: | 0 | Labor: | 0 | 0
Utility Measures |  | Notes | Cost Cat | Qty. | Material Ea | Material | Labor Ea | Labor | Total
6535 | Exterior Door - Utility (2 door max. per home at $800/ea) |  | U |  | 400 | 0 | 400 | 0 | 0
8200 | LED 100 W Replacement bulbs (16-20W) |  | U |  | 5 | 0 | 2 | 0 | 0
8201 | LED 75W Replacement bulbs (9-13W) |  | U |  | 5 | 0 | 2 | 0 | 0
8202 | LED 60 W Replacement bulbs (8-12W) |  | U |  | 5 | 0 | 2 | 0 | 0
8203 | LED 40 W Replacement bulbs (6-9W) |  | U |  | 5 | 0 | 2 | 0 | 0
8205 | 3-way LED bulbs (each) (limit 2 per home) **DOE/HEAP ONLY** |  | U |  | 10 | 0 | 7.5 | 0 | 0
8320 | Low-Flow Showerhead (limit 2 per home $10/each - charge balance to HEAP) |  | U | 0 | 10 | 0 | 18.75 | 0 | 0
8330 | Faucet Aerators (limit 3 per home $5/ each - charge balance to HEAP) |  | U |  | 9 | 0 | 18.75 | 0 | 0
8340 | Pipe Wrap 3ft section (max. 6ft per side)(max. quantity of 4) |  | U | 0 | 1 | 0 | 9 | 0 | 0
Sub-total Utility |  |  |  |  | Material: | 0 | Labor: | 0 | 0
MISC. (enter seq #, description, cost cat, qty, material ea, labor ea) |  | Notes | Cost Cat | Qty. | Material Ea | Material | Labor Ea | Labor | Total
1130 | Transportation Allowance - crews only |  | M |  | 416.44 | 0 | 720.9 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0 | 0
Sub-total misc. |  |  |  |  | Material: | 0 | Labor: | 0 | 0
[5 empty] | Mat. Total: | 0 | Lab. Total: | 0 | 0
Note on D265: This section is locked. The Notes will auto-fill from the Ancillary Calc Tab.
Note on F218: This section is locked.The Quantities will auto-fill from the Infilitration CalcTab.
Note on F265: This section is locked. The Quantities will auto-fill from the Ancillary Calc Tab.
Back to Top
Hide Rows
Unhide Rows

## Infiltration Calc
Infiltration Calculation | [5 empty] | Job#: | 0
Enter Qty. in Column E. The Qty. & Costs will transfer to Price Sheet. Enter Total Cost (J49) in NEAT/MHEA Infiltration Reduction ($)
Seq # | Material/ Work Item | Notes, location etc. | Enter Qty. | Material Ea | Material | Labor Ea | Labor | Total
2953 | Pressure Points - R13 - Cellulose (per sq ft) for infiltration |  |  | 0.85 | 0 | 1.71 | 0 | 0
2955 | Pressure Points - R19 - Cellulose (per sq ft) for infiltration |  |  | 1.01 | 0 | 1.95 | 0 | 0
2957 | Pressure Points - R30 - Cellulose (per sq ft) for infiltration |  |  | 1.66 | 0 | 2.55 | 0 | 0
2959 | Pressure Points - R38 - Cellulose (per sq ft) for infiltration |  |  | 2.12 | 0 | 3.21 | 0 | 0
3050 | Attic, KW, CS access w/s |  |  | 16.54 | 0 | 48.06 | 0 | 0
3170 | By pass blocks in attic (per block 64 sq in) |  |  | 0.53 | 0 | 6.01 | 0 | 0
3171 | Recessed light covers - 12x12x24 5/8 in. drywall |  |  | 25.57 | 0 | 48.06 | 0 | 0
3172 | Air - Tight Recessed LED Light insert |  |  | 12.02 | 0 | 37.5 | 0 | 0
6010 | Weatherstrip without carrier (36 in. door kit) |  |  | 15.57 | 0 | 48.06 | 0 | 0
6020 | Weatherstrip with a carrier (36 in. door kit) |  |  | 16.54 | 0 | 48.06 | 0 | 0
6030 | Foam w/s (30' roll) |  |  | 10 | 0 | 24.03 | 0 | 0
6040 | Sweep |  |  | 16.68 | 0 | 32.5 | 0 | 0
6050 | Sweep - triple |  |  | 5 | 0 | 24.03 | 0 | 0
6060 | Sweep - brush |  |  | 7.46 | 0 | 24.03 | 0 | 0
6070 | Threshold - low |  |  | 21.66 | 0 | 48.06 | 0 | 0
6080 | Threshold - high with insert |  |  | 7.65 | 0 | 96.12 | 0 | 0
6090 | Threshold - bumper |  |  | 30 | 0 | 24.03 | 0 | 0
6095 | Shu |  |  | 17.07 | 0 | 38 | 0 | 0
6100 | A/C foam w/s |  |  | 8.79 | 0 | 24.03 | 0 | 0
6110 | Sash locks |  |  | 3.47 | 0 | 24.03 | 0 | 0
6120 | Caulk - latex |  |  | 2.74 | 0 | 24.03 | 0 | 0
6130 | Caulk - silicone |  |  | 10.21 | 0 | 24.03 | 0 | 0
6140 | Caulk - hi-temp |  |  | 13.48 | 0 | 24.03 | 0 | 0
6141 | Fire rated liquid foam (12 ounce can) |  |  | 9.89 | 0 | 24.03 | 0 | 0
6150 | Non-expanding foam (6 ounce can) |  |  | 5 | 0 | 7.5 | 0 | 0
6155 | Non-expanding foam (12 ounce can) |  |  | 5.98 | 0 | 12.02 | 0 | 0
6160 | Non-expanding foam (20-24 ounce can) (for use with spray gun) |  |  | 16.97 | 0 | 36.05 | 0 | 0
6161 | Froth Pack 200 board feet |  |  | 542 | 0 | 150 | 0 | 0
6162 | Froth Pack 600 board feet |  |  | 1308 | 0 | 225 | 0 | 0
6165 | Non-expanding foam Tank 20# Tank |  |  | 450 | 0 | 250 | 0 | 0
6166 | Expanding foam (i.e. Great Stuff Gaps and Cracks) (12 ounce) |  |  | 9.89 | 0 | 77.25 | 0 | 0
6167 | 2-part foam for air seal |  |  | 1.73 | 0 | 2.38 | 0 | 0
6171 | Patching plaster (per lb.) Infiltration |  |  | 11.48 | 0 | 60 | 0 | 0
6181 | Mud\taping (per gal.) -Infiltration |  |  | 7.83 | 0 | 96.12 | 0 | 0
6201 | Sheetrock 1/2" (per sq ft)-Infiltration |  |  | 0.41 | 0 | 6.6 | 0 | 0
6211 | Sheetrock 5/8 (per sq ft)-Infiltration |  |  | 0.49 | 0 | 6.6 | 0 | 0
6220 | Foil faced rigid board 1/2 in. (per sqft) |  |  | 0.89 | 0 | 8.16 | 0 | 0
6230 | Foil faced rigid board 3/4 in. (per sqft) |  |  | 0.5 | 0 | 8.35 | 0 | 0
6240 | Foil faced rigid board 1 in. (per sqft) |  |  | 0.63 | 0 | 8.35 | 0 | 0
6285 | Sheet Metal for air sealing (20"x20" 28 gauge) |  |  | 15 | 0 | 37.88 | 0 | 0
6440 | Window Glaze (per pint) (includes push points) |  |  | 5.74 | 0 | 90.69 | 0 | 0
6460 | Plexi glass (per sq inch) |  |  | 0.15 | 0 | 0.12 | 0 | 0
6501 | Replacement Glass (per sq inch) |  |  | 0.1 | 0 | 0.12 | 0 | 0
6270 | Misc. Infiltration-(add description) |  |  | 0 | 0 | 0 | 0 | 0
6280 | Misc. Infiltration-(add description) |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | Mat Total: | 0 | Lab Total: | 0 | 0
Note on B47: Delete (add description) then enter the material or work item. The corrosponding cell in the Work Order will automatically populate.
Note on B48: Delete (add description) then enter the material or work item. The corrosponding cell in the Work Order will automatically populate.
Note on F47: Enter the Material Ea cost. The corrosponding cell in the Work Order will automatically populate.
Note on F48: Enter the Material Ea cost. The corrosponding cell in the Work Order will automatically populate.
Note on H47: Enter the Labor Ea cost. The corrosponding cell in the Work Order will automatically populate.
Note on H48: Enter the Labor Ea cost. The corrosponding cell in the Work Order will automatically populate.
Hide Rows
Unhide Rows

## Access Door Calc
NOTE: This sheet does not auto-fill the Work Order. | [5 empty] | Attic, KW, CS access door material calculation
Step 1: Enter the length and width of the opening in inches | [5 empty] | Step 2: Enter the qty in the gray highlighted cells. The remaining cells are auto-filled
[8 empty] | Qty | Material Each | Material Total | Labor Each | Labor Total | Measure Total
|  |  | X |  |  | 3030 | Attic, KW, CS Access (cut new hole) - each |  | 3.33 | 0 | 96.12 | 0 | 0
[6 empty] | 3050 | Attic, KW, CS Access WS (each) |  | 16.54 | 0 | 48.06 | 0 | 0
For more than one access, enter the total length & total width for all of the openings | [5 empty] | 3080 | Attic, KW, CS Access Insulation 1" Celotex R6 per in. |  | 2.01 | 0 | 12.02 | 0 | 0
[6 empty] | 7060 | Lumber 1x12 (per lnft) - Box/ Damming |  | 2.51 | 0 | 6.01 | 0 | 0
[6 empty] | 7080 | Lumber 2x4 (per lnft) |  | 0.46 | 0 | 3.01 | 0 | 0
[6 empty] | 7010 | Lumber 1x2 (per lnft) |  | 0.16 | 0 | 3.01 | 0 | 0
[6 empty] | 7020 | Lumber 1x4 (per lnft) |  | 2.07 | 0 | 3.01 | 0 | 0
|  |  | 0 |  |  | 7140 | Door/window stop (per lnft) |  | 1 | 0 | 4.47 | 0 | 0
[6 empty] | 7150 | Door/window casing (per lnft) |  | 1.56 | 0 | 6 | 0 | 0
[6 empty] | 7200 | Plywood 3/4 in. ac - Lid/ Door(1/4 sheet - 8 sqft) |  | 1.89 | 0 | 12.02 | 0 | 0
[6 empty] | 7190 | Plywood 3/4 in. (per sqft)-treated cdx |  | 1.71 | 0 | 12.02 | 0 | 0
[6 empty] | 6741 | Paint (interior) (per quart) |  | 4.8 | 0 | 60.36 | 0 | 0
0 |  | 0 |  | sqft |  | 6742 | Paint (exterior) (per quart) |  | 30 | 0 | 37.5 | 0 | 0
[6 empty] | 6700 | Door Pull - each |  | 6.27 | 0 | 12.32 | 0 | 0
[6 empty] | 6120 | Caulk |  | 2.74 | 0 | 24.03 | 0 | 0
[6 empty] | 6640 | Barrell Bolt |  | 3.79 | 0 | 24.03 | 0 | 0
| Perimeter: |  |  | 0 | ln ft | 6690 | Hook and Eye |  | 3.96 | 0 | 9.5 | 0 | 0
Step3: Enter additional measures if they're not listed above
[9 empty] | 0 | 0 | 0 | 0 | 0
[9 empty] | 0 | 0 | 0 | 0 | 0
[9 empty] | 0 | 0 | 0 | 0 | 0
[9 empty] | 0 | 0 | 0 | 0 | 0
[9 empty] | Mat. Total: | 0 | Lab Total: | 0 | 0
Note on B21: Perimeter calculates the sum of the 4 sides rounded up to the next whole number.
Note on P6: Enter total sqft for each of the layers needed to achieve required R-value. Example: access = 4 sqft. If they need 4 layers, the qty you enter is 16 (4 sqft x 4 layers).

## Ancillary Calc
Ancillary Measures | [5 empty] | Job#: | 0
Note: Extra Labor is paid at $75 per hour (Enter the quantity for 1500 - 1530 as quarter hours. $18.75 is for 15 minutes of work)
Seq # | Material/ Work Item | Notes, location etc. | Enter Qty. | Material Ea | Material | Labor Ea | Labor | Total
1500 | Extra Labor-Attic Insulation |  |  | ••• Labor Only ••• |  | 12.02 | 0 | 0
1501 | Extra Labor-Attic Insulation Mobile Home |  |  | ••• Labor Only ••• |  | 12.02 | 0 | 0
1502 | Extra Labor-Floored attic Insulation |  |  | ••• Labor Only ••• |  | 12.02 | 0 | 0
1503 | Extra Labor-Ceiling Slants Insulation |  |  | ••• Labor Only ••• |  | 12.02 | 0 | 0
1504 | Extra Labor-Sidewall Insulation |  |  | ••• Labor Only ••• |  | 12.02 | 0 | 0
1505 | Extra Labor-Sidewall Insulation-Mobile Home |  |  | ••• Labor Only ••• |  | 12.02 | 0 | 0
1506 | Extra Labor-Cantilever Floor Insulation |  |  | ••• Labor Only ••• |  | 12.02 | 0 | 0
1507 | Extra Labor-Kneewall Insulation |  |  | ••• Labor Only ••• |  | 12.02 | 0 | 0
1508 | Extra Labor-Sill Insulation |  |  | ••• Labor Only ••• |  | 12.02 | 0 | 0
1509 | Extra Labor-Crawlspace Insulation |  |  | ••• Labor Only ••• |  | 12.02 | 0 | 0
1510 | Extra Labor-Underbelly Insulation |  |  | ••• Labor Only ••• |  | 12.02 | 0 | 0
1511 | Extra Labor-Floor Joist Insulation |  |  | ••• Labor Only ••• |  | 12.02 | 0 | 0
1512 | Extra Labor-Duct Insulation |  |  | ••• Labor Only ••• |  | 12.02 | 0 | 0
1520 | Extra Labor-Infiltration 1 |  |  | ••• Labor Only ••• |  | 12.02 | 0 | 0
1521 | Extra Labor-Infiltration 2 |  |  | ••• Labor Only ••• |  | 12.02 | 0 | 0
1522 | Extra Labor-Infiltration 3 |  |  | ••• Labor Only ••• |  | 12.02 | 0 | 0
1523 | Extra Labor-Infiltration 4 |  |  | ••• Labor Only ••• |  | 12.02 | 0 | 0
1524 | Extra Labor-Infiltration 5 |  |  | ••• Labor Only ••• |  | 12.02 | 0 | 0
1526 | Extra Labor-Repairs 1 |  |  | ••• Labor Only ••• |  | 12.02 | 0 | 0
1527 | Extra Labor-Repairs 2 |  |  | ••• Labor Only ••• |  | 12.02 | 0 | 0
1528 | Extra Labor-Repairs 3 |  |  | ••• Labor Only ••• |  | 12.02 | 0 | 0
1529 | Extra Labor-Repairs 4 |  |  | ••• Labor Only ••• |  | 12.02 | 0 | 0
1530 | Extra Labor-Repairs 5 |  |  | ••• Labor Only ••• |  | 12.02 | 0 | 0
2481 | Insulation depth markers |  |  | 0.02 | 0 | 6.01 | 0 | 0
2482 | Electrical box markers |  |  | 0.01 | 0 | 6.01 | 0 | 0
3010 | Wall plugs (each) - Plastic |  |  | 0.14 | 0 | 3.01 | 0 | 0
3011 | Wall plugs (each) - Wood |  |  | 0.61 | 0 | 1.23 | 0 | 0
3080 | Attic, KW, CS access insulation - 1" Foil faced rigid foamboard (R6) |  |  | 2.01 | 0 | 12.02 | 0 | 0
3160 | Soffit vent chutes |  |  | 1.62 | 0 | 24.03 | 0 | 0
3191 | Kneewall backing (per sqft) House wrap or Insulation fabric |  |  | 0.09 | 0 | 3.28 | 0 | 0
3193 | House wrap (per sqft) |  |  | 0.09 | 0 | 3.28 | 0 | 0
5369 | Lath (per piece) |  |  | 0.32 | 0 | 2.22 | 0 | 0
|  |  |  | Mat Total: | 0 | Lab Total: | 0 | 0
Hide Rows
Unhide Rows

## Change Order
Crew Change Order
Approval Date: | [7 empty] | Job #: | 0
Client Name: |  | 0
Address, City, Zip: |  | 0 |  |  |  | 0
Work ItemsTo Be Added
Seq # | Material/ Work Item |  |  |  | Material Ea | Labor Ea | Qty. | Material Total | Labor Total | Total
[5 empty] | Additional Work Items Subtotal: |  |  | 0 | 0 | 0
Work Items To Be Deleted
Seq # | Material/ Work Item |  |  |  | Material Ea | Labor Ea | Qty. | Material Total | Labor Total | Total
|  |  |  | Deleted Work Items Subtotal: |  |  |  | 0 | 0 | 0
|  |  | Material |  | Labor |  |  | Total |  | % of Work Order
Change Order Totals |  |  | 0 |  | 0 |  |  | 0 |  | #DIV/0!
Work Order Totals |  |  | 0 |  | 0 |  |  | 0
Final Job Totals |  |  | 0 |  | 0 |  |  | 0
By entering your name below, you acknowledge and agree that this action constitutes your electronic signature and serves as your official authorization for the purposes of this document.
|  |  | Crew Signature: | [5 empty] | Date:
NOTE: Approval requirements will Auto-Fill based on the amount of the Change Order in relation to the amount of the original Work Order • < 10% requires QCI • • 10.01% to 15% requires Wx Coordinator • • > 15% requires State Approval •
***Less Than 10% - QCI may Approve*** |  |  | QCI Signature: | [5 empty] | Date:
|  |  | Coordinator Signature: | [5 empty] | Date:
|  |  | State Signature: | [5 empty] | Date:
Seq# | Work Items to be Added - List Location and Reason for Change | [8 empty] | ECM
0
0
0
0
0
0
0
0
0
0
0
0
0
0
Seq # | Work Items to be Deleted - List Reason for Change
0
0
0
0
0
0
0
0
0
0
0
0
0
0
Enter Additional Notes Below
Note on A8: Enter Sequence numbers in column A to populate Work Item's
Note on A25: Enter Sequence numbers in column A to populate Work Item's
Note on A58: Auto-fills from page 1
Note on A73: Auto-fills from page 1
Hide Rows
Unhide Rows

## +15% Change Order Checklist
Subgrantee Change Order Approval Checklist - 15% Overage
Iowa Weatherization Program
Grantee approval is required when a Change Order amount exceeds 15% of the original Work Order. Approval will be processed within three business days from the date the request is received; however, if additional information is required, approval will be delayed accordingly.
Agency Name: |  |  | Date:
Agency Contact: |  |  | Phone Number:
Job Number:
Please complete the checklist below to assure you have attached the required documentation
Requests will NOT be approved without ALL supporting documentation
Use (Shift + P) to check the box next to each item below
Completed Audit/ Inspection data collection form
Original Work Order (print as a .pdf) or bidding documents
Completed Change Order Form (print as a .pdf)
Pre & Post Input Reports from Waweb
Pre & Post Recommended Measures Reports from Waweb
Relevant photos (in color and labeled)
This completed checklist (print as a .pdf)
Please provide any additional clarification or supporting details below.
Email requests to: |  | •••••• NOTE - Please use the following format in the email Subject Line ••••••
chris.bracy@hhs.iowa.gov |  | Agency number, Agency name, Change Order Request, Client last name - job number
alan.ditsworth@hhs.iowa.gov |  | ex: 02 HACAP Change Order Request Smith-1234-5
kurt.nicholson@hhs.iowa.gov
Revised 06/01/2025

## Ave Costs
SEQ | Work Item HACAP hourly rate - $48.06 - Extra Labor 1500 - 1530 are paid at $12.02 per 15 minutes | Cost Category | Ancillary Measure | Calculated Measure | Material | Labor | Total | State Ave | Legend of Cost Categories
1130 | Transportation Allowance - crews only | M |  | X | 416.44 | 720.9 | 1137.34 |  | Main Categories
1500 | Extra Labor-Attic Insulation (qty. = quarter hours) | I-ANC | X | X | 0 | 12.02 | 12.02 |  | A= | Infiltration
1501 | Extra Labor-Attic Insulation Mobile Home (qty. = quarter hours) | I-ANC | X | X | 0 | 12.02 | 12.02 |  | E= | ECM
1502 | Extra Labor-Floored attic Insulation (qty. = quarter hours) | I-ANC | X | X | 0 | 12.02 | 12.02 |  | H= | Health & Safety
1503 | Extra Labor-Ceiling Slants Insulation (qty. = quarter hours) | I-ANC | X | X | 0 | 12.02 | 12.02 |  | I= | Insulation
1504 | Extra Labor-Sidewall Insulation (qty. = quarter hours) | I-ANC | X | X | 0 | 12.02 | 12.02 |  | R= | Repair
1505 | Extra Labor-Sidewall Insulation-Mobile Home (qty. = quarter hours) | I-ANC | X | X | 0 | 12.02 | 12.02 |  | U= | Utility
1506 | Extra Labor-Cantilever Floor Insulation (qty. = quarter hours) | I-ANC | X | X | 0 | 12.02 | 12.02 |  | Sub-Categories
1507 | Extra Labor-Kneewall Insulation (qty. = quarter hours) | I-ANC | X | X | 0 | 12.02 | 12.02 |  | ANC = | Ancillary
1508 | Extra Labor-Sill Insulation (qty. = quarter hours) | I-ANC | X | X | 0 | 12.02 | 12.02 |  | Cel= | Cellulose
1509 | Extra Labor-Crawlspace Insulation (qty. = quarter hours) | I-ANC | X | X | 0 | 12.02 | 12.02 |  | MH= | Mobile Home
1510 | Extra Labor-Underbelly Insulation (qty. = quarter hours) | I-ANC | X | X | 0 | 12.02 | 12.02 |  | FG= | Fiberglass
1511 | Extra Labor-Floor Joist Insulation (qty. = quarter hours) | I-ANC | X | X | 0 | 12.02 | 12.02 |  | 2PF= | 2 part foam
1512 | Extra Labor-Duct Insulation (qty. = quarter hours) | I-ANC | X | X | 0 | 12.02 | 12.02 |  | DUC= | Duct
1520 | Extra Labor-Infiltration 1 (qty. = quarter hours) | A-ANC | X | X | 0 | 12.02 | 12.02 |  | RFB= | Rigid Foam Board
1521 | Extra Labor-Infiltration 2 (qty. = quarter hours) | A-ANC | X | X | 0 | 12.02 | 12.02
1522 | Extra Labor-Infiltration 3 (qty. = quarter hours) | A-ANC | X | X | 0 | 12.02 | 12.02
1523 | Extra Labor-Infiltration 4 (qty. = quarter hours) | A-ANC | X | X | 0 | 12.02 | 12.02
1524 | Extra Labor-Infiltration 5 (qty. = quarter hours) | A-ANC | X | X | 0 | 12.02 | 12.02
1526 | Extra Labor-Repairs 1 (qty. = quarter hours) | R-ANC | X | X | 0 | 12.02 | 12.02
1527 | Extra Labor-Repairs 2 (qty. = quarter hours) | R-ANC | X | X | 0 | 12.02 | 12.02
1528 | Extra Labor-Repairs 3 (qty. = quarter hours) | R-ANC | X | X | 0 | 12.02 | 12.02
1529 | Extra Labor-Repairs 4 (qty. = quarter hours) | R-ANC | X | X | 0 | 12.02 | 12.02
1530 | Extra Labor-Repairs 5 (qty. = quarter hours) | R-ANC | X | X | 0 | 12.02 | 12.02
2111 | Attic insulation - R11 - Cellulose (per sqft) | I-CEL |  |  | 0.16 | 0.65 | 0.81
2151 | Attic insulation - R11 - FG Batt (per sqft) | I-FG |  |  | 0.44 | 1.98 | 2.42
2211 | Attic insulation - R19 - Cellulose (per sqft) | I-CEL |  |  | 0.24 | 0.65 | 0.89
2251 | Attic insulation - R19 - FG Batt (per sqft) | I-FG |  |  | 0.44 | 1.98 | 2.42
2311 | Attic insulation - R30 - Cellulose (per sqft) | I-CEL |  |  | 0.39 | 0.65 | 1.04
2411 | Attic insulation - R38 - Cellulose (per sqft) | I-CEL |  |  | 0.5 | 1.03 | 1.53
2453 | Attic insulation - R49 - Cellulose (per sqft) | I-CEL |  |  | 0.65 | 1.33 | 1.98
2481 | Insulation depth markers | I-ANC | X |  | 0.02 | 6.01 | 6.03
2482 | Electrical box markers | I-ANC | X |  | 0.01 | 6.01 | 6.02
2506 | Floored attic insulation - R11 - Cellulose (per sqft) | I-CEL |  |  | 0.26 | 1.33 | 1.59
2511 | Floored attic insulation - R19 - Cellulose (per sqft) | I-CEL |  |  | 0.42 | 2.25 | 2.67
2536 | Floored attic insulation - R30 - Cellulose (per sqft) | I-CEL |  |  | 0.67 | 2.55 | 3.22
2541 | Floored attic insulation - R38 - Cellulose (per sqft) | I-CEL |  |  | 2.12 | 3.21 | 5.33 | X
2740 | Ceiling slants insulation - R13 - Cellulose (per sqft) | I-CEL |  |  | 0.85 | 1.71 | 2.56 | X
2745 | Ceiling slants insulation - R19 - Cellulose (per sqft) | I-CEL |  |  | 0.41 | 3.26 | 3.67
2753 | Ceiling slants insulation - R19 - FG Batt (per sqft) | I-FG |  |  | 0.44 | 1.98 | 2.42
2811 | Sidewall insulation - R13 - Cellulose (per sqft) | I-CEL |  |  | 0.34 | 2.7 | 3.04
2835 | Sidewall insulation - R19 - Celluose (per sqft) | I-CEL |  |  | 1.01 | 1.95 | 2.96 | X
2837 | Sidewall insulation - R30 - Cellulose (per sqft) | I-CEL |  |  | 1.66 | 2.55 | 4.21 | X
2839 | Sidewall insulation - R38 - Cellulose (per sqft) | I-CEL |  |  | 2.12 | 3.21 | 5.33 | X
2911 | Sidewall insulation - R11 - FG Batt (per sqft) | I-FG |  |  | 0.44 | 1.98 | 2.42
2953 | Pressure Points - R13 - Cellulose (per sqft) for infiltration | A |  |  | 0.85 | 1.71 | 2.56 | X
2955 | Pressure Points - R19 - Cellulose (per sqft) for infiltration | A |  |  | 1.01 | 1.95 | 2.96 | X
2957 | Pressure Points - R30 - Cellulose (per sqft) for infiltration | A |  |  | 1.66 | 2.55 | 4.21 | X
2959 | Pressure Points - R38 - Cellulose (per sqft) for infiltration | A |  |  | 2.12 | 3.21 | 5.33 | X
3010 | Wall plugs (each) - Plastic | I-ANC | X |  | 0.14 | 3.01 | 3.15
3011 | Wall plugs (each) - Wood | I-ANC | X |  | 0.61 | 1.23 | 1.84 | X
3030 | Attic, KW, CS access (cut new hole) | R |  |  | 3.33 | 96.12 | 99.45
3050 | Attic, KW, CS access w/s | A |  |  | 16.54 | 48.06 | 64.6
3080 | Attic, KW, CS access insulation - 1" Foil faced rigid foamboard (R6) | I-ANC | X |  | 2.01 | 12.02 | 14.03
3100 | Roof vents (w/black jack) | R |  |  | 19.38 | 48.06 | 67.44
3110 | Gable vent (All Sizes) | R |  |  | 36 | 96.12 | 132.12
3120 | Gable vents (including lumber, brickmould) | R |  |  | 36 | 144.18 | 180.18
3130 | Gable vent (w/ outside attic access) | R |  |  | 54.9 | 114.75 | 169.65 | X
3140 | Soffit vents 4 in.x12 in. | R |  |  | 5 | 24.03 | 29.03
3150 | Black jack - per gallon | R |  |  | 14.98 | 96.12 | 111.1
3155 | Black jack - per tube | R |  |  | 2.75 | 24.03 | 26.78
3160 | Soffit vent chutes | I-ANC | X |  | 1.62 | 24.03 | 25.65
3170 | By pass blocks in attic (per block 64 sq in) | A |  |  | 0.53 | 6.01 | 6.54
3171 | Recessed light covers - 12x12x24 5/8 in. drywall | A |  |  | 25.57 | 48.06 | 73.63
3172 | Air - Tight Recessed LED Light insert | A |  |  | 12.02 | 37.5 | 49.52 | X
3180 | Metal damming - heat source (per 10' unit) | H |  |  | 15.22 | 48.06 | 63.28
3191 | Kneewall backing (per sqft) House wrap or Insulation fabric | I-ANC | X |  | 0.09 | 3.28 | 3.37
3192 | Kneewall backing (per sqft) - Repair | R |  |  | 0.09 | 3.28 | 3.37
3193 | House wrap (per sqft) | I-ANC | X |  | 0.09 | 3.28 | 3.37
3194 | House wrap for floor joist (per sqft) - Repair | R |  |  | 0.09 | 3.28 | 3.37
3200 | Misc. Insulation Item | I |  | X | 0 | 0 | 0
4011 | Kneewall insulation (3 1/2"x16") - R13 - FG Batt (per sqft) | I-FG |  |  | 0.46 | 3.25 | 3.71
4050 | Kneewall insulation - R13 - two-part foam (per sqft) | I-2PF |  |  | 4.1 | 2 | 6.1 | X
4051 | Kneewall insulation - R19 - two-part foam (per sqft) | I-2PF |  |  | 4.1 | 2 | 6.1 | X
4111 | Kneewall insulation - R13 - Cellulose (per sqft) | I-CEL |  |  | 0.41 | 3.25 | 3.66
5111 | Kneewall insulation (3 1/2"x23") - R13 - FG Batt (per sqft) | I-FG |  |  | 0.48 | 3.25 | 3.73
5211 | Sill insulation (6"x16") - R19 - FG Batt (per sqft) | I-FG |  |  | 0.84 | 4.24 | 5.08
5240 | Sill Insulation - R19 - rigid foam board (per sqft) | I-RFB |  |  | 4.56 | 2.46 | 7.02 | X
5250 | Sill insulation - R19 - two part foam (per sqft) | I-2PF |  |  | 33.31 | 7.14 | 40.45
5306 | Crawlspace insulation - R19 - two part foam (per sqft) | I-2PF |  |  | 33.31 | 7.14 | 40.45
5331 | Crawlspace insulation (6"x23") - R19 - FG Batt (per sqft) | I-FG |  |  | 0.46 | 1.67 | 2.13
5340 | Crawlspace insulation R19 - foil faced rigid foam board (per sqft) | I-RFB |  |  | 2.05 | 3.87 | 5.92 | X
5343 | Floor joist insulation R19 Cellulose (basement/crawlspace/tuck under/cantilever) (per sqft) | I-CEL |  |  | 0.41 | 2.25 | 2.66
5346 | Floor joist insulation R30 Cellulose (basement/crawlspace/tuck under/cantilever) (per sqft) | I-CEL |  |  | 0.67 | 2.55 | 3.22
5349 | Floor joist insulation R38 Cellulose (basement/crawlspace/tuck under/cantilever) (per sqft) | I-CEL |  |  | 2.12 | 3.21 | 5.33 | X
5352 | Floor joist insulation R19 FG Batt (basement/crawlspace/tuck under/cantilever) (per sqft) | I-FG |  |  | 0.34 | 3.63 | 3.97
5355 | Floor joist insulation R30 FG Batt (basement/crawlspace/tuck under/cantilever) (per sqft) | I-FG |  |  | 1.53 | 1.79 | 3.32
5358 | Floor joist insulation R38 FG Batt (basement/crawlspace/tuck under/cantilever) (per sqft) | I-FG |  |  | 2.01 | 1.16 | 3.17 | X
5361 | Floor joist insulation R11 Cellulose (basement/crawlspace/tuck under/cantilever) (per sqft) | I-CEL |  |  | 0.34 | 2.03 | 2.37
5365 | Vapor barrier (plastic) (per sqft) | H |  |  | 0.1 | 0.77 | 0.87
5366 | Seam Tape Per roll 1 7/8" 164ft | H |  |  | 16.5 | 150 | 166.5 | X
5367 | Vapor barrier Mastic (per gallon) | H |  |  | 200 | 40 | 240 | X
5369 | Lath (per piece)Ancillary | I-ANC | X |  | 0.32 | 2.22 | 2.54
5370 | Lath (per piece)Repair | R |  |  | 0.32 | 2.22 | 2.54
5400 | Duct Insulation (per lnft) - R8 (for existing ventilation ducts) | H |  |  | 3.89 | 2.97 | 6.86 | X
5401 | Duct Insulation (per lnft) - Heating/Cooling ducts | I-DUC |  |  | 1.44 | 3.87 | 5.31
5402 | Duct Insulation (per lnft) - For Health & Safety | H |  |  | 2.12 | 8.39 | 10.51
6010 | Weatherstrip without carrier (36 in. door kit) | A |  |  | 15.57 | 48.06 | 63.63
6020 | Weatherstrip with a carrier (36 in. door kit) | A |  |  | 16.54 | 48.06 | 64.6
6030 | Foam w/s (30' roll) | A |  |  | 10 | 24.03 | 34.03
6040 | Sweep | A |  |  | 16.68 | 32.5 | 49.18 | X
6050 | Sweep - triple | A |  |  | 5 | 24.03 | 29.03
6060 | Sweep - brush | A |  |  | 7.46 | 24.03 | 31.49
6070 | Threshold - low | A |  |  | 21.66 | 48.06 | 69.72
6080 | Threshold - high with insert | A |  |  | 7.65 | 96.12 | 103.77
6090 | Threshold - bumper | A |  |  | 30 | 24.03 | 54.03
6095 | Shu | A |  |  | 17.07 | 38 | 55.07 | X
6100 | A/C foam w/s | A |  |  | 8.79 | 24.03 | 32.82
6110 | Sash locks | A |  |  | 3.47 | 24.03 | 27.5
6120 | Caulk - latex | A |  |  | 2.74 | 24.03 | 26.77
6130 | Caulk - silicone | A |  |  | 10.21 | 24.03 | 34.24
6140 | Caulk - hi-temp | A |  |  | 13.48 | 24.03 | 37.51
6141 | Fire rated liquid foam (12 ounce can) | A |  |  | 9.89 | 24.03 | 33.92
6150 | Non-expanding foam (6 ounce can) | A |  |  | 5 | 7.5 | 12.5 | X
6155 | Non-expanding foam (12 ounce can) | A |  |  | 5.98 | 12.02 | 18
6160 | Non-expanding foam (20-24 ounce can) (for use with spray gun) | A |  |  | 16.97 | 36.05 | 53.02
6161 | Froth Pack 200 board feet | A |  |  | 542 | 150 | 692 | X
6162 | Froth Pack 600 board feet | A |  |  | 1308 | 225 | 1533 | X
6165 | Non-expanding foam Tank 20# Tank | A |  |  | 450 | 250 | 700 | X
6166 | Expanding foam (i.e. Great Stuff Gaps and Cracks) (12 ounce) | A |  |  | 9.89 | 77.25 | 87.14
6167 | 2-part foam for air seal | A |  |  | 1.73 | 2.38 | 4.11
6170 | Patching plaster (per lb.)Repair | R |  |  | 11.48 | 60 | 71.48 | X
6171 | Patching plaster (per lb.) Infiltration | A |  |  | 11.48 | 60 | 71.48 | X
6180 | Mud\taping (per gal.) - for Repairs | R |  |  | 7.83 | 96.12 | 103.95
6181 | Mud\taping (per gal.) -Infiltration | A |  |  | 7.83 | 96.12 | 103.95
6190 | Ceiling tile (per sqft) | R |  |  | 9.72 | 12.02 | 21.74
6200 | Sheetrock 1/2 in. (per sqft) | R |  |  | 0.41 | 6.6 | 7.01
6201 | Sheetrock 1/2" (per sqft)-Infiltration | A |  |  | 0.41 | 6.6 | 7.01
6210 | Sheetrock 5/8 in. (per sqft) | R |  |  | 0.49 | 6.6 | 7.09
6211 | Sheetrock 5/8 (per sqft)-Infiltration | A |  |  | 0.49 | 6.6 | 7.09
6220 | Foil faced rigid board 1/2 in. (per sqft) | A |  |  | 0.89 | 8.16 | 9.05
6230 | Foil faced rigid board 3/4 in. (per sqft) | A |  |  | 0.5 | 8.35 | 8.85
6240 | Foil faced rigid board 1 in. (per sqft) | A |  |  | 0.63 | 8.35 | 8.98
6250 | Mortar mix (per 60 lb. bag) | R |  |  | 8.73 | 96.12 | 104.85
6260 | Blocks - cement (8 in. x 8 in. x16 in.) | R |  |  | 3.12 | 12 | 15.12 | X
6270 | Miscellaneous Infiltration Cost | A |  | X | 0 | 0 | 0
6280 | Miscellaneous Infiltration Cost | A |  | X | 0 | 0 | 0
6285 | Sheet Metal for air sealing (20"x20" 28 gauge) | A |  |  | 15 | 37.88 | 52.88 | X
6300 | Miscellaneous repair-1 | R |  | X | 0 | 0 | 0
6301 | Miscellaneous repair-2 | R |  | X | 0 | 0 | 0
6302 | Miscellaneous repair-3 | R |  | X | 0 | 0 | 0
6317 | Vinyl sash replacement H&S | H |  |  | 15.92 | 23.6 | 39.52 | X
6412 | Wood sash replacement H&S | H |  |  | 15.92 | 23.6 | 39.52 | X
6421 | Window Complete - per sqft ECM ($800 max/ window) ($600 max Utility) | E |  |  | 23.78 | 15.42 | 39.2
6422 | Window Complete - per sqft H&S ($800 max/ window) ($600 max Utility) | H |  |  | 23.78 | 15.42 | 39.2
6430 | Window sill (per lnft) | R |  |  | 7.59 | 80 | 87.59 | X
6440 | Window Glaze (per pint) (includes push points) | A |  |  | 5.74 | 90.69 | 96.43
6450 | Sash channels | R |  |  | 15 | 75 | 90 | X
6460 | Plexi glass (per sq inch) | A |  |  | 0.15 | 0.12 | 0.27 | X
6501 | Replacement Glass (per sq inch) | A |  |  | 0.1 | 0.12 | 0.22 | X
6505 | Trim interior door - pressure balancing | H |  |  | 0 | 48.06 | 48.06 | X
6512 | Door - solid core slab (All Sizes) Health and Safety | H |  |  | 243.49 | 349.11 | 592.6 | X
6515 | Door - solid core prehung (All Sizes.) ECM | E |  |  | 307.69 | 687.21 | 994.9 | X
6517 | Door - solid core prehung - Complete - Health & Safety | H |  |  | 307.69 | 687.21 | 994.9 | X
6522 | Door - hollow core prehung - (All Sizes) Health and safety | H |  |  | 222.01 | 450 | 672.01 | X
6530 | Door - steel prehung W/O Light (All Sizes) Complete-ECM | E |  |  | 383.99 | 384.48 | 768.47
6531 | Door - steel prehung W/Light (All Sizes) Complete-ECM | E |  |  | 466.34 | 687.21 | 1153.55 | X
6532 | Door - steel pre hung W/O Light(All Sizes) Complete - Health & Safety | H |  |  | 370.62 | 384.48 | 755.1
6533 | Door - steel prehung W/Light (All Sizes) Complete-Health and Safety | H |  |  | 466.34 | 687.21 | 1153.55 | X
6535 | Exterior Door - Utility (ENERGY STAR certified, 2 door max. per home at $800/ea.) | U |  |  | 400 | 400 | 800 | X
6540 | Lower Grade Access - Complete | R |  |  | 157 | 384.48 | 541.48
6541 | Upper Grade Access - Complete | R |  |  | 157 | 384.48 | 541.48
6550 | Car siding (per lnft) | R |  |  | 2.1 | 4.8 | 6.9 | X
6560 | Door sill (each) | R |  |  | 23 | 96.12 | 119.12
6570 | Exterior door jam w/sill (each) | R |  |  | 25 | 96.12 | 121.12
6600 | Butt hinges 4 in. hinges | R |  |  | 9.6 | 10.11 | 19.71 | X
6610 | T-hinges 4 in. | R |  |  | 8.5 | 12.14 | 20.64 | X
6620 | T-hinges 2 in. | R |  |  | 6.22 | 12.14 | 18.36 | X
6630 | Striker plate | R |  |  | 3.49 | 24.03 | 27.52
6640 | Barrell bolt | R |  |  | 3.79 | 24.03 | 27.82
6650 | L-bracket | R |  |  | 4.01 | 12.92 | 16.93 | X
6660 | Turn buckle | R |  |  | 5.65 | 18.75 | 24.4 | X
6670 | Turn button | R |  |  | 4.5 | 18.75 | 23.25 | X
6680 | Snap fastener | R |  |  | 1.53 | 12.02 | 13.55
6690 | Hook and eye | R |  |  | 3.96 | 9.5 | 13.46 | X
6700 | Door pull | R |  |  | 6.27 | 12.32 | 18.59 | X
6710 | Lockset - keyed | R |  |  | 10.97 | 48.06 | 59.03
6720 | Lockset - passage | R |  |  | 8.34 | 26.83 | 35.17
6725 | Deadbolt | R |  |  | 11.22 | 48.06 | 59.28
6730 | Modernization kit | R |  |  | 26 | 48.06 | 74.06
6741 | Paint (interior) (per quart) | R |  |  | 4.8 | 60.36 | 65.16 | X
6742 | Paint (exterior) (per quart) | R |  |  | 30 | 37.5 | 67.5 | X
6752 | Dehumidifier (Gen H&S Repair)($3k max) (50 pint Energy Star) | H |  |  | 179.55 | 94.98 | 274.53
6753 | Guttering (Gen H&S Repair)($3kmax) $20/Labor and $4 per ft/elbow material | H |  |  | 48.77 | 198.63 | 247.4
6754 | Grading (Gen H&S Repair)($3k max) $15cuft + $75/ hour | H |  | X | 31.85 | 167.73 | 199.58
6790 | Elastomeric Roof Coat (per 5 gallons) | R |  |  | 20.9 | 96.12 | 117.02
7010 | Lumber 1x2 (per lnft) | R |  |  | 0.16 | 3.01 | 3.17
7011 | Lumber 1x2 (per lnft) (Pressure-treated) | R |  |  | 0.44 | 5 | 5.44 | X
7020 | Lumber 1x4 (per lnft) | R |  |  | 2.07 | 3.01 | 5.08
7021 | Lumber 1x4 (per lnft) (Pressure-treated) | R |  |  | 1 | 5 | 6 | X
7030 | Lumber 1x6 (per lnft) | R |  |  | 3.2 | 3.01 | 6.21
7031 | Lumber 1x6 (per lnft) (Pressure-treated) | R |  |  | 1.14 | 5 | 6.14 | X
7040 | Lumber 1x8 (per lnft) | R |  |  | 4.12 | 3.01 | 7.13
7041 | Lumber 1x8 (per lnft) (Pressure-treated) | R |  |  | 1.74 | 5 | 6.74 | X
7050 | Lumber 1x10 (per lnft) | R |  |  | 2.27 | 5 | 7.27 | X
7051 | Lumber 1x10 (per lnft) (Pressure-treated) | R |  |  | 3.37 | 5 | 8.37 | X
7060 | Lumber 1x12 (per lnft) | R |  |  | 2.51 | 6.01 | 8.52
7061 | Lumber 1x12 (per lnft) (Pressure-treated) | R |  |  | 2.97 | 5 | 7.97 | X
7070 | Lumber 2x2 (per lnft) | R |  |  | 0.34 | 3.01 | 3.35
7071 | Lumber 2x2 (per lnft) (Pressure-treated) | R |  |  | 0.85 | 5 | 5.85 | X
7080 | Lumber 2x4 (per lnft) | R |  |  | 0.46 | 3.01 | 3.47
7081 | Lumber 2x4 (per lnft) (Pressure-treated) | R |  |  | 1.04 | 5 | 6.04 | X
7090 | Lumber 2x6 (per lnft) | R |  |  | 1.59 | 3.01 | 4.6
7091 | Lumber 2x6 (per lnft) (Pressure-treated) | R |  |  | 1.63 | 5 | 6.63 | X
7100 | Lumber 2x8 (per lnft) | R |  |  | 1.39 | 3.01 | 4.4
7101 | Lumber 2x8 (per lnft) (Pressure-treated) | R |  |  | 2.35 | 5 | 7.35 | X
7110 | Lumber 2x10 (per lnft) | R |  |  | 2.94 | 5 | 7.94 | X
7111 | Lumber 2x10 (per lnft) (Pressure-treated) | R |  |  | 2.62 | 5 | 7.62 | X
7120 | Lumber 2x12 (per lnft) | R |  |  | 2.82 | 6.01 | 8.83
7121 | Lumber 2x12 (per lnft) (Pressure-treated) | R |  |  | 3.92 | 5 | 8.92 | X
7130 | Parting stop (per lnft) 1/2 in. x 2 in. | R |  |  | 3.34 | 1.08 | 4.42 | X
7140 | Door/window stop (per lnft) | R |  |  | 1 | 4.47 | 5.47
7150 | Door/window casing (per lnft) | R |  |  | 1.56 | 6 | 7.56
7160 | Window trim (5/4 board) (per lnft) | R |  |  | 2.39 | 2.72 | 5.11 | X
7170 | Brickmould (per lnft) (wood) | R |  |  | 1.79 | 6 | 7.79
7180 | Plywood 1/2 in. (per sqft)-treated cdx | R |  |  | 1.45 | 12.02 | 13.47
7181 | Plywood 1/2 in. (per sqft)-OSB | R |  |  | 0.85 | 3.74 | 4.59 | X
7190 | Plywood 3/4 in. (per sqft)-treated cdx | R |  |  | 1.71 | 12.02 | 13.73
7191 | Plywood 3/4 in. (per sqft)-OSB | R |  |  | 1.28 | 3.74 | 5.02 | X
7200 | Plywood 3/4 in. ac (per sqft) | R |  |  | 1.89 | 12.02 | 13.91
7210 | Blue or Pink foamboard 2 in. (per sqft) R10 | R |  |  | 2 | 3.36 | 5.36 | X
7240 | Shims (10 per unit) | R |  |  | 3.91 | 10.31 | 14.22 | X
7250 | Siding (per lnft) All types - Cost plus 25% $75 per Hour labor | R |  | X | 0.56 | 5.61 | 6.17
7260 | Siding material All types - Cost plus 25% $75 per hour labor(Corners, J-channel) | R |  | X | 1 | 1 | 2 | X
7270 | Roll roofing (per 100 sqft roll) | R |  |  | 122.68 | 388.53 | 511.21
7280 | Shingles (per 100 sqft) 25 year any color | R |  |  | 120 | 96.12 | 216.12
7290 | Roof Coating (per gal) | R |  |  | 10.45 | 96.12 | 106.57
7300 | Aluminum Roof Coating (per gal) | R |  |  | 32.49 | 37.5 | 69.99 | X
7310 | Metal flashing (per lnft) for roofing only | R |  |  | 1.45 | 10.72 | 12.17
7350 | Unfaced fiberglass for K&T damming per ft. | H |  |  | 81.62 | 530.21 | 611.83
8200 | LED 100 W Replacement bulbs (16-20W) | U |  |  | 5 | 2 | 7 | X
8201 | LED 75W Replacement bulbs (9-13W) | U |  |  | 5 | 2 | 7 | X
8202 | LED 60 W Replacement bulbs (8-12W) | U |  |  | 5 | 2 | 7 | X
8203 | LED 40 W Replacement bulbs (6-9W) | U |  |  | 5 | 2 | 7 | X
8205 | 3-way LED bulbs (each) (limit 2 per home) **DOE/HEAP ONLY** | U |  |  | 10 | 7.5 | 17.5 | X
8320 | Low-Flow Showerhead (limit 2 per home $10/each - charge balance to HEAP) | U |  |  | 10 | 18.75 | 28.75 | X
8330 | Faucet Aerators (limit 3 per home $5/ each - charge balance to HEAP) | U |  |  | 9 | 18.75 | 27.75 | X
8340 | Pipe Wrap 3ft section (max. 6ft per side)(max. qty of 4) | U |  |  | 1 | 9 | 10 | X
8450 | 4 in. elbows (each) | H |  |  | 3.95 | 12.02 | 15.97
8460 | 5" elbows (each) | H |  |  | 8.1 | 13.2 | 21.3 | X
8461 | 6 in. elbows (each) | H |  |  | 12.3 | 13.2 | 25.5 | X
8462 | Reducer (each) | H |  |  | 15.44 | 13.2 | 28.64 | X
8608 | Clamp (each) | H |  |  | 2.79 | 13.2 | 15.99 | X
8609 | Foil tape (per job) | H |  |  | 6 | 28.13 | 34.13 | X
8610 | Dryer vent (exterior kit) | H |  |  | 5.25 | 48.06 | 53.31
8620 | Bathroom vent (exterior kit) 4 in. | H |  |  | 12.21 | 48.06 | 60.27
8621 | Bathroom vent (exterior kit) 6 in. | H |  |  | 68.57 | 75 | 143.57 | X
8630 | Kitchen vent (exterior kit) | H |  |  | 66.49 | 96.12 | 162.61
8640 | Dryer vent (duct per ft) 4 in. rigid metal | H |  |  | 2.89 | 12.02 | 14.91
8641 | Dryer vent (duct per ft) 5 in. rigid metal | H |  |  | 6.35 | 8 | 14.35 | X
8650 | Bathroom vent (duct per ft) 4 in. rigid metal | H |  |  | 2.68 | 12.02 | 14.7
8651 | Bathroom vent (duct per ft) 6 in. flex - R8 | H |  |  | 4.19 | 8 | 12.19 | X
8652 | Bathroom vent (duct per ft) 5 in. | H |  |  | 6.35 | 8 | 14.35 | X
8660 | Kitchen vent (duct per ft) 28 gauge x 8 in. | H |  |  | 2.49 | 12.02 | 14.51
8670 | Duct sealing (per ft) - conditioned area | H |  |  | 0.55 | 6.01 | 6.56
8671 | Duct sealing (per ft) - unconditioned area | H |  |  | 0.55 | 12.02 | 12.57
8680 | Carbon monoxide alarm (sealed w/ 10yr battery) | H |  |  | 31.77 | 24.03 | 55.8
8690 | Smoke alarm (dual sensor) | H |  |  | 24.97 | 24.03 | 49
8691 | LP alarm | H |  |  | 49.74 | 24.03 | 73.77
8722 | Transfer grille (ALL Sizes) (min. size - 100 sqin free air - i.e. 10 in. x 10 in.) | H |  |  | 13.81 | 54.86 | 68.67
8740 | Exhaust fan (ea) - moistures issues (excludes venting) | H |  |  | 249.3 | 537.67 | 786.97
8741 | Exhaust fan (ea) - continuous for ASHRAE (excludes venting) | H |  |  | 249.3 | 537.67 | 786.97
8742 | Exhaust fan w/light (ea) - for moisture issues (excludes venting) | H |  |  | 400 | 400 | 800 | X
8743 | Exhaust fan w/light (ea) - continuous for ASHRAE (excludes venting) | H |  |  | 400 | 400 | 800 | X
8744 | Kitchen exhaust (ea) - for moisture issues (excludes venting) | H |  |  | 400 | 400 | 800 | X
8745 | Kitchen exhaust (ea) - continuous for ASHRAE (excludes venting) | H |  |  | 400 | 400 | 800 | X
8760 | Energy recovery ventilator (ERV) | H |  |  | 550 | 400 | 950 | X
8770 | Exhaust fan - electrician (per fan) (base price - use a change order to match actual cost) | H |  |  | 40 | 310 | 350 | X
9500 | Lead Safe Work Practices - Exterior (per job) | H |  |  | 53.64 | 800 | 853.64
9501 | Lead Safe Work Practices - Interior (qty=perimeter) | H |  |  | 3 | 9 | 12 | X
10010 | Attic insulation- mobile home (per bag) R11 | I-MH |  |  | 61.71 | 10 | 71.71 | X
10110 | Attic insulation- mobile home (per bag) R19 | I-MH |  |  | 61.71 | 12.75 | 74.46 | X
10210 | Attic insulation- mobile home (per bag) R30 | I-MH |  |  | 61.71 | 15 | 76.71 | X
10310 | Attic insulation- mobile home (per bag) R38 | I-MH |  |  | 61.71 | 17.25 | 78.96 | X
10410 | Sidewall insulation - mobile home (per sqft) R11 | I-MH |  |  | 2.03 | 1.95 | 3.98 | X
10510 | Underbelly insulation - mobile home (per bag) | I-MH |  |  | 45.08 | 48.06 | 93.14
10711 | Celotex 1 in. (underbelly) (per sqft) - Repair | R-MH |  |  | 0.85 | 2.22 | 3.07
10712 | Celotex 1 in. (underbelly) (per sqft) - Infiltration | A-MH |  |  | 0.85 | 2.22 | 3.07
10721 | Seal underbelly (per sqft) - Repair | R-MH |  |  | 0.76 | 3 | 3.76
10722 | Seal underbelly (per sqft) - Infiltration | A-MH |  |  | 0.76 | 3 | 3.76 | X
10730 | Silver seal (per gal) | R-MH |  |  | 29.33 | 37.5 | 66.83 | X
10739 | Mobile home water heater closet door - exterior only | H-MH |  |  | 255 | 144.18 | 399.18
10740 | Mobile home rated door - Complete - ECM | E-MH |  |  | 624.66 | 335.55 | 960.21
10742 | Mobile home rated door - Complete - H&S | H-MH |  |  | 627.96 | 335.55 | 963.51
10744 | Mobile home rated door - Complete (Energy Star, 2 door max. per home, $800/ea.) | U-MH |  |  | 400 | 400 | 800 | X
10750 | Mobile home window - Complete - ECM - non-utility funds (per sqft) | E-MH |  |  | 15.92 | 23.6 | 39.52
10752 | Mobile home window - Complete - H&S - non-utility funds (per sqft) | H-MH |  |  | 15.92 | 23.6 | 39.52