## Measures Breakdown
WEATHERIZATION MEASURES
MEASURE | IPL |  | MEC |  | BHE | DOE |  | HEAP
| Primary | Secondary | Primary | Secondary | Primary
Insulation - Attic, Wall, Floor or Foundation, Duct, Underbelly and Bandjoist | 80% - 100% | 20% | 80% - 100% | 20% | 80% - 100% | 100% |  | 100%
* Secondary utilities pay only if an air conditioner is present (up to
100% if a home is all electric)
* If there is a secondary utility to pay, then primary only pays 80%
* (Utilities pay up to $4,000)
* If propane is primary, federal funds pay 80%, utility pays 20%
Furnace Replacement | $3,500 (NG) | $3,500 (electric) | $3,500 (NG) | $3,500 (electric) | $3,500 (NG) | Yes |  | Yes
* Utilities - Must be 95%+ EF (90%+ mobile home), limit 1 per home
* DOE/HEAP - Must be 95%+ EF (90%+ mobile home)
Heating System Repair | No | No | No | No | No | Yes |  | Yes
* All systems except boilers and heat pumps - $1,000 limit, per
dwelling, excluding ductwork
* Boilers and heat pumps - $2,000 limit, per dwelling
Furnace Venting | 250 | No | 250 | No | 250 | Yes |  | Yes
Furnace Tune/Clean N.G. | 125 | No | 125 | No | 125 | Yes |  | Yes
* Utility - May be performed on 1 existing N.G. unit per home
Programmable Thermostat | 100 | No | 100 | No | 100 | Yes |  | Yes
* Must be 7 day, 5 + 2 day, or 5 + 1 + 1 day
Refrigerator Replacement | No | 850 | No | 850 | No | Yes |  | Yes
* Must be Energy Star-rated and run through BART
* Utility - limit 1 per home
Freezer Replacement | No | 650 | No | 650 | No | No |  | Yes
* Must be Energy Star-rated and run through BART
* Utility - limit 1 per home
Water Heater Repair | No | No | No | No | No | Yes |  | Yes
* Includes associated plumbing
LED Bulbs
5 Watts to 30 Watts (* Limit 20 per home, ES-rated) | No | 7 | No | 7 | No | 7 |  | 7
3-Way (* Limit 2 per home, ES-rated, 5w-30w) | No | 15 | No | 15 | No | 15 |  | 15
* All LEDs must be used for a minimum of 1.5 hrs per day
Water Heating Measures
Faucet aerator (* Limit 3 per home) | 5 | 5 | 5 | 5 | 5 | 5 |  | 5
Pipe wrap | 10 | 10 | 10 | 10 | 10 | 10 |  | 10
* Limit 2 - 6' sections per home
* Up to $10 per side (hot/cold)
Showerhead (* Limit 2 per home - includes handheld) | 10 | 10 | 10 | 10 | 10 | 10 |  | 10
Water heater wrap | No | No | No | No | No | Yes |  | Yes
* Charged to primary/secondary dending on fuel type of w.h.
Admin/Support limits | 15% | 15% | 15% | 15% | 15% | by contract |  | by contract
Infiltration Measures | 500 | 500 | 500 | 500 | 500 | Yes |  | Yes
* Utility - Caulking and sealing of whole house as indicated by initial
audit including attic bypass sealing
* May use either primary or secondary utility - not both
Duct Sealing | 350 | 350 | 350 | 350 | 350 | Yes |  | Yes
* HEAP/DOE - Applicable to furnace ducts as needed
* Utilities - Only applicable to furnace ducts in unconditioned spaces
Incidental Repair Measures (must be tied to ECM) | 400 | 400 | 400 | 400 | 400 | Yes |  | Yes
* Utility - In support of successful application of efficiency measures
* May use either primary or secondary utility - not both
General Health & Safety Repairs | No | No | No | No | No | 1500 |  | 1500
* Includes plumbing/electrical repairs, dehumidifiers, sump pumps,
gutters, downspouts, banking/grading, minor
asbestos removal, pest removal
REMEMBER: Anything that uses electricity to operate, cannot be charged to the primary utility. | [6 empty] | Revised 07/05/2022