## Health & Safety
Seq # | Health & Safety | Notes
3180 | Metal damming - heat source (per 10' unit)
6505 | Trim interior door - pressure balancing (each)
6750 | Plumbing Repair (Gen. H&S Repair)($1500 max) (per job) | $1500 max for Seq. #6750-6758
6751 | Sump Pump (Gen. H&S Repair)($1500 max) (per job) | $1500 max for Seq. #6750-6758
6752 | Dehumidifier (Gen. H&S Repair)($1500 max) (per job) | $1500 max for Seq. #6750-6758
6753 | Guttering (Gen. H&S Repair)($1500 max) (per job) | $1500 max for Seq. #6750-6758
6754 | Grading (Gen. H&S Repair)($1500 max) (per job) | $1500 max for Seq. #6750-6758
6755 | Electrical Repair (Gen. H&S Repair)($1500 max) (per job) | $1500 max for Seq. #6750-6758
6756 | Moisture/Mold Cleanup (Gen. H&S Repair)($1500 max) (per job) | $1500 max for Seq. #6750-6758
6757 | Pest removal (Gen. H&S Repair)($1500 max) (per job) | $1500 max for Seq. #6750-6758
6758 | Minor asbestos abatement (Gen H&S Repair)($1500 max) (per job) | $1500 max for Seq. #6750-6758
7320 | S type fuse (15 amp) or (20 amp) (each)
7330 | Adapter for S type fuse (each)
7350 | Unfaced fiberglass for K&T damming
7360 | Electrical inspection of K&T
8360 | Water heater replacement - power or direct vent - NG (each)
8361 | Water heater replacement - power or direct vent - NG - utility (each) | REQUIRES .67 EF $1500 max
8362 | Water heater replacement - power or direct vent - NG - efficiency (each) | Efficiency replacement
8365 | Water heater replacement - electric (each)
8366 | Water heater replacement - electric - utility funds (each) | REQUIRES .89 EF $1000 max
8367 | Water heater replacement - electric - efficiency (each) | Efficiency replacement
8371 | Water heater replacement - power or direct vent - LP gas (each)
8373 | Water heater replacement - power or direct vent - LP - efficiency (each) | Efficiency replacement
8380 | Water heater overflow pipe (each)
8410 | Water heater repair (per job)
8440 | 3" elbows (each)
8450 | 4" elbows (each)
8610 | Dryer vent (exterior kit) (each)
8620 | Bathroom vent (exterior kit) (each)
8630 | Kitchen vent (exterior kit) (each)
8640 | Dryer vent (duct per ft)
8650 | Bathroom vent (duct per ft)
8660 | Kitchen vent (duct per ft)
8670 | Duct sealing (per foot) | conditioned/unintentionally area
8671 | Duct sealing (per foot) | unconditioned area
8672 | Duct sealing (per foot) - utility funds | unconditioned area - utility funds
8680 | Carbon monoxide alarm (each)
8690 | Smoke alarm (each)
8691 | LP alarm (each)
8700 | Safety check
8710 | Final safety check
8720 | Miscellaneous health and safety repair
8721 | Gas line repair (per job)
8722 | Transfer grille (each)
8730 | Furnace repair (per job)
8740 | Exhaust Fan (each)
8741 | Exhaust fan - continuous as required by ASHRAE (each) | Ventilation Required(CFM): Rated CFM: # Hours/Day Run:
8750 | Air-to-Air Exchanger System (each) | State Approval Required
8760 | Energy recovery ventilator (ERV) (each) | Efficiency %: CFM Flow Setting:
8770 | Exhaust fan - electrical contractor (each fan)
8780 | Furnace Venting (per job)
8781 | Furnace venting - utility funds (max $250) (per job)
8790 | Water Heater Venting (per job)
8791 | Water heater venting - utility funds (max $250) (per job)
9010 | Furnace tune and clean (each)
9015 | Tune and clean - utility funds (each)
9080 | Furnace replacement - ECIP (each)
9110 | Furnace replacement - 80% (each)
9120 | Furnace replacement - gas/oil - 95%+ (each)
9121 | Furnace Replacement - gas/oil - efficiency (each) | Replacement eff reasons - must have SIR or 1 or greater in NEAT
9130 | Furnace replacement - electric (each)
9131 | Electric baseboard heater (each)
9132 | Furnace replacement - electric - efficiency (each)
9140 | Boiler replacement (each)
9141 | Boiler replacement - efficiency (each) | Replacement eff reasons - must have SIR or 1 or greater in NEAT
9150 | Space heater replacement (each)
9160 | Heat pump replacement (each)
9161 | Heat pump replacement - efficiency (each) | Replacement eff reasons - must have SIR or 1 or greater in NEAT
9170 | Heating System Replacement - Utility Funds (each)
9500 | Lead Safe Work Practices (per job)
2016-12-02

## Incidental Repairs
Seq # | Incidental Repairs | Seq # | Incidental Repairs
3030 | Attic access (cut new hole) (labor only) (each access) | 7170 | Brick moulding (per ft)
3040 | Box around attic access (each access) | 7180 | Plywood 1/2" (per sq ft) - treated cdx
3060 | Attic access lid (3/4 plywood) 1/4 sheet | 7190 | Plywood 3/4" (per sq ft) - treated cdx
3061 | Attic Access - complete w/framing,stop,trim,lid,ws,insul, (each access) | 7200 | Plywood 3/4" ac (per sq ft)
3100 | Roof vents (w/black jack) (each) | 7210 | Blue board 2" (per sq ft)
3110 | Gable vent (each) | 7220 | Styrofoam board 3/4" (per sq ft)
3120 | Gable vents (including lumber, brick mold) (each) | 7230 | Masonite (per lin ft)
3130 | Gable vent (w/ outside attic access) (each) | 7240 | Shims (10 per unit)
3140 | Soffitt vents (each) | 7250 | Siding (per lin ft)
3150 | Black jack (gal) | 7260 | Siding corners (each)
3155 | Black jack - per tube | 7270 | Roll roofing (per roll)
6170 | Patching plaster (per lb.) | 7280 | Shingles (per sq)
6180 | Mud\taping (per gal.) | 7290 | Tar (per gal)
6190 | Ceiling tile (per sq. ft.) | 7300 | Silver seal (per gal)
6200 | Sheetrock 1/2" (per sq. ft.) | 7310 | Metal flashing (per lin ft) for roofing only
6210 | Sheetrock 5/8" (per sq. ft.) | 10730 | Silver seal (per gal)
6250 | Mortar mix (per 60 lb. bag) | 10740 | Mobile home door (each) indicate type of siding:
6260 | Blocks (per block) cement | 10750 | Mobile home window (per inside & outside unit)
6300 | Miscellaneous Repairs
6310 | Miscellaneous Repairs - Utility Funds (max $400)
6315 | Vinyl replacement sash (each)
6410 | Wood sash replacement (each)
6430 | Window sill (per ft)
6440 | Glaze windows (per pint)
6450 | Sash channels (per window)
6510 | Door - solid core (each)
6515 | Door - solid core prehung (each)
6520 | Door - hollow core (each)
6530 | Door - steel pre hung (each)
6540 | Door - carsiding (36"x80") hinges/lockset (each)
6550 | Car siding (per ft)
6560 | Door sill (each)
6570 | Exterior door jam w/sill (each)
6580 | Door light (each)
6590 | Peep hole (each)
6600 | Butt hinges (each) 4" hinges
6610 | T-hinges 4" (each)
6620 | T-hinges 2" (each)
6630 | Striker plate (each)
6640 | Barrell bolt (each)
6650 | L-bracket (each)
6660 | Turn buckle (each)
6670 | Turn button (each)
6680 | Snap fastener (each)
6690 | Hook and eye (each)
6700 | Door pull (each)
6710 | Lockset - keyed (each)
6720 | Lockset - passage (each)
6730 | Modernization kit (each)
6741 | Paint (per gallon)
6780 | Knob & tube wiring - special project (per job)
7010 | Lumber 1x2 (per ft)
7020 | Lumber 1x4 (per ft)
7030 | Lumber 1x6 (per ft)
7040 | Lumber 1x8 (per ft)
7050 | Lumber 1x10 (per ft)
7060 | Lumber 1x12 (per ft)
7070 | Lumber 2x2 (per ft)
7080 | Lumber 2x4 (per ft)
7090 | Lumber 2x6 (per ft)
7100 | Lumber 2x8 (per ft)
7110 | Lumber 2x10 (per ft)
7120 | Lumber 2x12 (per ft)
7130 | Parting stop (per ft)
7140 | Door/window stop (per ft)
7150 | Door/window casing (per ft)
7160 | Window trim (5/4 board) (per ft) |  | 2016-12-02

## Infiltration
Seq # | Infiltration | Notes
2950 | Sidewall insulation (per lb.) (100%) R13 cellulose | pressure points or reinsulating for infiltration only
2951 | Sidewall insulation (per lb.) (80%) R13 cellulose | pressure points or reinsulating for infiltration only
2952 | Sidewall insulation (per lb.) (20%) R13 cellulose | pressure points or reinsulating for infiltration only
3050 | Attic access w/s (each access)
3170 | By pass blocks in attic (per block 64 sq in)
3171 | Recessed light covers (each)
6010 | Weatherstrip without carrier (each)
6020 | Weatherstrip with a carrier (each)
6030 | Foam w/s (roll)
6040 | Sweep (each)
6050 | Sweep - triple (each)
6060 | Sweep - brush (each)
6070 | Threshold - low (each)
6080 | Threshold - high with insert (each)
6090 | Threshold - bumper (each)
6095 | Shu (each)
6100 | A/C foam w/s (each)
6110 | Sash locks (each)
6120 | Caulk - latex (each)
6130 | Caulk - silicone (each)
6140 | Caulk - hi-temp (each)
6141 | Fire rated liquid foam (each)
6150 | Non-expanding foam (6 ounce can) (each)
6155 | Non-expanding foam (12 ounce can) (each)
6160 | Non-expanding foam (20 ounce can) (each)
6165 | Non-expanding foam Tank (20#) (each)
6166 | Expanding foam
6171 | Patching plaster (per lb.)
6181 | Mud\taping (per gal)
6201 | Sheetrock 1/2" (per sq ft)
6211 | Sheetrock 5/8" (per sq ft)
6220 | Foil faced rigid board 1/2" (per sq. ft.)
6230 | Foil faced rigid board 3/4" (per sq. ft.)
6240 | Foil faced rigid board 1" (per sq. ft.)
6270 | Miscellaneous Infiltration Costs
6280 | Miscellaneous Infiltration Costs
6460 | Plexi glass (per sq inch)
6465 | Window glass (per piece)
6470 | Glass (small) 0-144 sq inch
6480 | Glass (medium) 145-576 sq inch
6490 | Glass (large) 577-1296 sq inch
6500 | Glass (exlarge) 1297+ sq inch
2016-12-02

## Insulation
Seq # | Insulation | Insulation Type | RValue
2110 | Attic insulation (per lb.) (100%) | C | R11
2120 | Attic insulation (per lb.) (80%) | C | R11
2130 | Attic insulation (per lb.) (20%) | C | R11
2150 | Attic insulation (per sq ft.) (100%) | F | R11
2160 | Attic insulation (per sq ft.) (80%) | F | R11
2170 | Attic insulation (per sq ft.) (20%) | F | R11
2210 | Attic insulation (per lb.) (100%) | C | R19
2220 | Attic insulation (per lb.) (80%) | C | R19
2230 | Attic insulation (per lb.) (20%) | C | R19
2250 | Attic insulation (per sq ft.) (100%) | F | R19
2260 | Attic insulation (per sq ft.) (80%) | F | R19
2270 | Attic insulation (per sq ft.) (20%) | F | R19
2310 | Attic insulation (per lb.) (100%) | C | R30
2320 | Attic insulation (per lb.) (80%) | C | R30
2330 | Attic insulation (per lb.) (20%) | C | R30
2410 | Attic insulation (per lb.) (100%) | C | R38
2420 | Attic insulation (per lb.) (80%) | C | R38
2430 | Attic insulation (per lb.) (20%) | C | R38
2450 | Attic insulation (per lb.) (100%) | C | R49
2451 | Attic insulation (per lb.) (80%) | C | R49
2452 | Attic insulation (per lb.) (20%) | C | R49
2505 | Floored attic insulation (per lb.) (100%) | C | R11
2506 | Floored attic insulation (per lb.) (80%) | C | R11
2507 | Floored attic insulation (per lb.) (20%) | C | R11
2510 | Floored attic insulation (per lb.) (100%) | C | R19
2520 | Floored attic insulation (per lb.) (80%) | C | R19
2530 | Floored attic insulation (per lb.) (20%) | C | R19
2535 | Floored attic insulation (per lb.) (100%) | C | R30
2536 | Floored attic insulation (per lb.) (80%) | C | R30
2537 | Floored attic insulation (per lb.) (20%) | C | R30
2540 | Floored attic insulation (per lb.) (100%) | C | R38
2545 | Floored attic insulation (per lb.) (80%) | C | R38
2546 | Floored attic insulation (per lb.) (20%) | C | R38
2610 | Ceiling slants insulation (Fascia) (per lb.) (100%) | C | R19
2620 | Ceiling slants insulation (Fascia) (per lb.) (80%) | C | R19
2630 | Ceiling slants insulation (Fascia) (per lb.) (20%) | C | R19
2710 | Ceiling slants insulation (Attic) (per lb.) (100%) | C | R19
2720 | Ceiling slants insulation (Attic) (per lb.) (80%) | C | R19
2730 | Ceiling slants insulation (Attic) (per lb.) (20%) | C | R19
2750 | Ceiling slants insulation (Attic) (per sq ft.) (100%) | F | R19
2751 | Ceiling slants insulation (Attic) (per sq ft.) (80%) | F | R19
2752 | Ceiling slants insulation (Attic) (per sq ft.) (20%) | F | R19
2810 | Sidewall insulation (per lb.) (100%) | C | R13
2820 | Sidewall insulation (per lb.) (80%) | C | R13
2830 | Sidewall insulation (per lb.) (20%) | C | R13
2840 | Cantilever floor insulation (per lb.) (100%) | C | R13
2850 | Cantilever floor insulation (per lb.) (80%) | C | R13
2860 | Cantilever floor insulation (per lb.) (20%) | C | R13
2910 | Sidewall insulation (per sq ft.) (100%) | F | R13
2920 | Sidewall insulation (per sq ft.) (80%) | F | R13
2930 | Sidewall insulation (per sq ft.) (20%) | F | R13
3010 | Wall plugs (each)
3080 | Attic access insulation (per sq ft)
3160 | Soffitt vent chutes (each)
3190 | Re-inforced plastic (per sq ft)
3200 | Misc Insulation Item
4010 | Kneewall insulation (3 1/2"x16") (100%) (per sq ft) | F | R11
4020 | Kneewall insulation (3 1/2"x16") (80%) (per sq ft) | F | R11
4030 | Kneewall insulation (3 1/2"x16") (20%) (per sq ft) | F | R11
4050 | Kneewall insulation (R11 two-part foam)(100%) (per sq ft) | F | R11
4060 | Kneewall insulation (R11 two-part foam)(80%) (per sq ft) | F | R11
* Insulation Types: C = Cellulose F = Fiberglass |  |  | 2016-12-02
Seq # | Insulation | Insulation Type | RValue
4070 | Kneewall insulation (R11 two-part foam)(20%) (per sq ft) | F | R11
4110 | Kneewall insulation (per lb) (100%) | C | R13
4120 | Kneewall insulation (per lb) (80%) | C | R13
4130 | Kneewall insulation (per lb) (20%) | C | R13
5110 | Kneewall insulation (3 1/2"x23") (100%) (per sq ft) | F | R11
5120 | Kneewall insulation (3 1/2"x23") (80%) (per sq ft) | F | R11
5130 | Kneewall insulation (3 1/2"x23") (20%) (per sq ft) | F | R11
5150 | Rigid backing for new kneewall insulation - all types except wet spray (per job) | F | R11
5160 | Strapping for existing kneewall fiberglass (per job) | F | R11
5210 | Sill insulation (6"x16") (100%) (per sq ft) | F | R19
5220 | Sill insulation (6"x16") (80%) (per sq ft) | F | R19
5230 | Sill insulation (6"x16") (20%) (per sq ft) | F | R19
5240 | Sill Insulation - Rigid Foam Board - R-19 (100%)
5241 | Sill Insulation - Rigid Foam Board - R-19 (80%)
5242 | Sill Insulation - Rigid Foam Board - R-19 (20%)
5250 | Sill insulation (R19 two part foam)(100%) (per sq ft) | F | R19
5251 | Sill insulation (R19 two part foam)(80%) (per sq ft) | F | R19
5252 | Sill insulation (R19 two part foam)(20%) (per sq ft) | F | R19
5307 | Crawlspace insulation (R-11 two part foam) (100%) (per sq ft) |  | R11
5308 | Crawlspace insulation (R-11 two part foam) (80%) (per sq ft) |  | R11
5309 | Crawlspace insulation (R-11 two part foam) (20%) (per sq ft) |  | R11
5310 | Crawlspace insulation (3 1/2"x23") (100%) (per sq ft) | F | R11
5320 | Crawlspace insulation (3 1/2"x23") (80%) (per sq ft) | F | R11
5330 | Crawlspace insulation (3 1/2"x23") (20%) (per sq ft) | F | R11
5335 | Crawlspace insulation - wet spray - (100%) (per sq ft) | C | R11
5336 | Crawlspace insulation - wet spray - (80%) (per sq ft) | C | R11
5337 | Crawlspace insulation - wet spray - (20%) (per sq ft) | C | R11
5340 | Crawlspace insulation (R11 foil faced rigid foam board) (per sq ft) (100%) |  | R11
5341 | Crawlspace insulation (R11 foil faced rigid foam board) (per sq ft) (80%) |  | R11
5342 | Crawlspace insulation (R11 foil faced rigid foam board) (per sq ft) (20%) |  | R11
5351 | Floor joist insulation (basement/crawlspace)(per lb)(100%) | C | R19
5352 | Floor joist insulation (basement/crawlspace)(per lb)(80%) | C | R19
5353 | Floor joist insulation (basement/crawlspace)(per lb)(20%) | C | R19
5355 | Floor joist insulation(basement/crawlspace)(per sq ft)(100%) | F | R19
5356 | Floor joist insulation (basement/crawlspace)(per sq ft)(80%) | F | R19
5357 | Floor joist insulation (basement/crawlspace)(per sq ft)(20%) | F | R19
5360 | Vapor barrier (plastic) (per sq ft)
5400 | Duct Insulation (per ft) | F
5401 | Duct Insulation (per ft) Heating/Cooling ducts | F
10010 | Attic insulation- mobile home (per bag) (100%) | F | R11
10020 | Attic insulation- mobile home (per bag) (80%) | F | R11
10030 | Attic insulation- mobile home (per bag) (200%) | F | R11
10110 | Attic insulation- mobile home (per bag) (100%) | F | R19
10120 | Attic insulation- mobile home (per bag) (80%) | F | R19
10130 | Attic insulation - mobile home (per bag) (20%) | F | R19
10210 | Attic insulation- mobile home (per bag) (100%) | F | R30
10220 | Attic insulation- mobile home (per bag) (80%) | F | R30
10230 | Attic insulation - mobile home (per bag) (20%) | F | R30
10310 | Attic insulation- mobile home (per bag) (100%) | F | R38
10320 | Attic insulation- mobile home (per bag) (80%) | F | R38
10330 | Attic insulation - mobile home (per bag) (20%) | F | R38
10410 | Sidewall insulation - mobile home (per bag)(100%) | F | R11
10420 | Sidewall insulation - mobile home (per bag)(80%) | F | R11
10430 | Sidewall insulation - mobile home (per bag)(20%) | F | R11
10510 | Underbelly insulation - mobile home (per bag)(100%) | F
10520 | Underbelly insulation - mobile home (per bag) (80%) | F
10530 | Underbelly insulation - mobile home (per bag)(20%) | F
10710 | Celotex 1" (underbelly) (sq ft)
10720 | Seal underbelly (per job)
* Insulation Types: C = Cellulose F = Fiberglass |  |  | 2016-12-02